See which procedures use this document

Authorized Worker Lockout and Tagout Devices

- Authorized worker lockout devices are green. Since there may be multiple energy sources involved, multiple lockout devices that are all are keyed alike can be issued as a set to each authorized worker. It is recommended that authorized workers identify assigned lockout devices with their name.

- Lockout devices may be obtained from the Lockout and Tagout Material Coordinator.

Figure 1.  Example of an Authorized Worker Lockout Device

- Authorized worker tags use individual “Danger” tagout devices. The tag signifies that an authorized worker is working on a system or component. The tagout device is installed by the authorized worker before starting work and is removed when the authorized worker leaves that work assignment.

- “Danger” tagout devices are durable and reusable.

- Replacement “Danger” tagout devices may be obtained from the Lockout and Tagout Material Coordinator. Stock number 54-6001-995 (07/96).

Figure 2. Example of an Authorized Worker “Danger” Tag

Controlling Organization Lockout and Tagout Devices

- Controlling organization lockout devices are red.

- These lockout devices may be obtained from the Lockout and Tagout Material Coordinator.

Figure 3. Example of a Controlling Organization Lockout Device

- The controlling organization uses “Danger: Do Not Operate” tagout devices.

- “Danger: Do Not Operate” tagout devices are durable and reusable.

- Replacement “Danger: Do Not Operate” tagout devices can be ordered from the PNNL Duplicating Services Shop. Stock number 37-8350-035 (2011 PNNL).

Figure 4.  Example of a Controlling Organization “Danger: Do Not Operate Tag”