## List
ERCOT Grid Architecture - Blocks
Sl. No. | List
1 | Federal Legislature
2 | Federal Regulator | ERCOT operates entirely within Texas and is not synchronized with neighboring systems, it is not subject to regulation by the FERC.
3 | NERC
4 | Texas Legislature
5 | Public Utility Commission of Texas
6 | Texas Reliability Entity | Reliability Monitor
7 | Independent Market Monitor | Footnote: Potomac Economics
8 | Power Market Administration | WAPA, SWPA
9 | ERCOT - Reliability Coordinator | RC, BA, TOP, TSP, MO, PC, RP, IC (ERCOT does not have a capacity market. It operates one of the few “energy-only” power markets in the world, where producers are paid only for the energy they sell, not for committing to supply capacity in the future. )
10 | ERCOT - Balancing Authority
11 | ERCOT - Transmission Service Provider
12 | ERCOT - Transmission Operator
13 | ERCOT - Wholesale Market Operator
14 | ERCOT - Retail Market Operator
15 | Other Transmission Operators
16 | Neighboring grids with DC ties | SPP, CFE
17 | Federal hydro generators | US Army Corp of Engineers
18 | Public hydro generators | Lower Colorado River Authority
19 | Merchant Generators
20 | Distributed Generation (DG)
21 | Distribution Provider
22 | Competitive Retail Electric Provider (REP) | IoU, PU, CO-Op, Muni, retailers
23 | Aggregators
24 | Bulk Power Marketers, Arbitragers
25 | C&I Consumers
26 | Residential Consumers
27 | Load Serving Entity
28 | Resource Entity
29 | Opt In Enity
30 | Non Opt In Enity
31 | Qualified Scheduling Entity
32 | Bilateral Market

## GlossaryInfo
Relevant Information from Glossary
Sl. No. | Category | Entity | Description
1 |  | Public Utility Commission of Texas (PUCT)
2 |  | Public Utility Regulatory Act, Title II, Texas Utility Code (PURPA)
3 |  | Independent Market Monitor (IMM) | The Entity selected to monitor the wholesale electric market pursuant to the Public Utility Regulatory Act (PURA), TEX. UTIL. CODE ANN. Â§ 39.1515 (Vernon 1998 & Supp. 2007) and P.U.C SUBST. R. 25.365, Independent Market Monitor.
4 |  | Potomac Economics | Potomac Economics serves as the Independent Market Monitor for the wholesale electricity markets operated by the Electric Reliability Council of Texas (ERCOT). It identies conduct by market participants or market rules that compromise the efficiency or distort the outcomes of the markets. It also issues periodic reports providing an independent assessment of the competitive performance and operational efficiency of the market.
5 | Reliability | North American Electric Reliability Corporation (NERC) Regional Entity | An Entity with delegated authority from the North American Electric Reliability Corporation (NERC) and approved by the Federal Energy Regulatory Commission (FERC) to propose and enforce NERC Reliability Standards in the ERCOT Region.
6 |  | Electric Reliability Organization | The organization approved by the Federal Energy Regulatory Commission (FERC) to perform the electric reliability organization functions described in the Electricity Modernization Act of 2005, 16 U.S.C. Â§ 824o (2005).
7 |  | Reliability Monitor | An Entity selected by the Public Utility Commission of Texas (PUCT) to monitor compliance with all state reliability-related laws, rules, and ERCOT procedures, including Protocols, processes, and any other operating standards applicable to the ERCOT Region.
8 |  | Texas Reliability Entity | Texas Reliability Entity, Inc. (Texas RE) is a Texas 501(c)(3) non-proit corporation that is the Regional Entity for the area of Texas served by the ERCOT. Through a Delegation Agreement with the NERC, which is approved by the FERC, Texas RE is authorized to do the following in the ERCOT region: • Develop, monitor, assess, and enforce compliance with NERC Reliability Standards. • Develop regional standards. • Assess and periodically report on the reliability and adequacy of the bulk power system (BPS). In addition, Texas RE serves as the Public Utility Commission of Texas's Reliability Monitor for the ERCOT region. Texas RE is independent of all users, owners, and operators of the BPS
9 |  | Oklaunion Exemption | The export schedules from the Public Service Company of Oklahoma, the Oklahoma Municipal Power Authority, and the AEP Texas North Company for their share of the Oklaunion Resource over the North DC Tie that are not treated as Load connected at transmission voltage, are not subject to any of the fees described in Section 4.4.4, DC Tie Schedules, and are limited to the actual net output of the Oklaunion Resource.
10 |  | Compliance Premium | A payment awarded by the Program Administrator in conjunction with a REC that is generated by a renewable energy source that is not powered by wind and meets the criteria of subsection (l) of P.U.C. SUBST. R. 25.173, Goal for Renewable Energy. For the purpose of the Renewable Portfolio Standard (RPS) requirements, one Compliance Premium is equal to one REC.
11 |  | ERCOT BOARD | The Board of Directors of the Electric Reliability Council of Texas, Inc.
12 |  | Balancing Energy Services (BES)
13 |  | System Operator | An Entity that supervises the collective Transmission Facilities of a power region. This Entity is charged with coordination of market transactions, system-wide transmission planning, and network reliability.
14 |  | Prior Agreement | Any previous Agreement between an Entity, its Affiliate, or its predecessor in interest and ERCOT about performance under the ERCOT Protocols
15 | Renewables | Renewable Portfolio Standard (RPS) | The amount of capacity required to meet the requirements of Public Utility Regulatory Act (PURA), TEX. UTIL. CODE ANN. Â§ 39.904 (Vernon 1998 & Supp. 2007) and P.U.C. SUBST. R. 25.173(h).
16 |  | Final RPS Requirement (FRR)
17 |  | Renewable Energy Credit (REC) | A tradable instrument that represents all of the renewable attributes associated with one MWh of production from a certified renewable generator. Renewable Energy Credit (REC): An account maintained by ERCOT for the purpose of tracking the production, sale, transfer, purchase, and retirement of RECs or Compliance Premiums by a REC Account Holder. Renewable Energy Credit (REC) Account Holder: An Entity registered with ERCOT to participate in the REC Trading Program.
18 |  | Resource Node | Either a logical construct that creates a virtual pricing point required to model a Combined-Cycle Configuration or an Electrical Bus defined in the Network Operations Model, at which a Generation Resource’s Settlement Point Price or WSL’s Settlement Point Price is calculated and used in Settlement. All Resource Nodes shall be identified in accordance with the Other Binding Document titled "Procedure for Identifying Resource Nodes." For a Generation Resource that is connected to the ERCOT Transmission Grid only by one or more radial transmission lines that all originate at the Generation Resource and terminate in a single substation switchyard, the Resource Node is an Electrical Bus in that substation. For all other Generation Resources, the Resource Node is the Generation Resource’s side of the Electrical Bus at which the Generation Resource is connected to the ERCOT Transmission Grid.
19 |  | Resource Entity | An Entity that owns or controls an All-Inclusive Resource and is registered with ERCOT as a Resource Entity. The term 'resource' is used to refer to both a generation resource and a load resource.
20 | Generation related | Generation Entity | The owner of an All-Inclusive Generation Resource and, unless otherwise specified in these Protocols, is registered as a Resource Entity.
21 |  | Wind-powered Generation Resource (WGR) | A Generation Resource that is powered by wind. Wind turbines may be aggregated together to form a WGR as set forth in paragraph (11) of Section 3.10.7.2, Modeling of Resources and Transmission Loads.
22 |  | Aggregate Generation Resource (AGR) | Affiliated Retail Electric Provider
23 |  | Distributed Generation (DG) | An electrical generating facility located at a Customer’s point of delivery (point of common coupling) ten megawatts (MW) or less and connected at a voltage less than or equal to 60 kilovolts (kV) which may be connected in parallel operation to the utility system.
24 |  | Disributed Renewable Generation (DRG) | Electric generation with a capacity of not more than 2,000 kW provided by a renewable energy technology that is installed on a retail electric Customer’s side of the meter.
25 |  | Qualifying Facility (QF) | A qualifying small power production facility or qualifying cogeneration facility under regulatory qualification criteria as defined in 16 U.S.C.A. Â§ 796(17)(C) and (18)(B).
26 |  | Switchable Generation Resource | A Generation Resource that can be connected to either the ERCOT Transmission Grid or a non-ERCOT Control Area.
27 | Interconnections | Direct Current Tie (DC Tie) | Any non-synchronous transmission interconnections between ERCOT and non-ERCOT electric power systems.
28 |  | Interconnecting Entity (IE) | Any Entity that has submitted a Generation Interconnection or Change Request Application proposing to interconnect an All-Inclusive Generation Resource with the ERCOT System, upgrade the rated capacity of an existing All-Inclusive Generation Resource by ten MW or greater, re-power an All-Inclusive Generation Resource, or change the Point of Interconnection (POI) of an All-Inclusive Generation Resource, but that has not yet submitted the Resource Registration data for the new All-Inclusive Generation Resource or change thereto pursuant to paragraph (1) of Section 16.5, Registration of a Resource Entity.
29 | Transmission and/or distribution | Transmission Service Provider (TSP) | An Entity under the jurisdiction of the PUCT that owns or operates Transmission Facilities used for the transmission of electricity and provides Transmission Service in the ERCOT Transmission Grid.
30 |  | Distribution Service Provider (DSP) | An Entity that owns or operates a Distribution System for the delivery of energy from the ERCOT Transmission Grid to Customers.
31 |  | Transmission and/or Distribution Service Provider (TDSP) | An Entity that is a TSP, a DSP or both, or an Entity that has been selected to own and operate Transmission Facilities and has a PUCT approved code of conduct in accordance with P.U.C. SUBST. R. 25.272, Code of Conduct for Electric Utilities and Their Affiliates.
32 |  | Eligible Transmission Service Customer | A Transmission and/or Distribution Service Provider (TDSP) (for all uses of its transmission system), or any electric utility, MOU, EC, power generation company, CR, REP, federal power marketing agency, exempt wholesale generator, Qualifying Facility (QF), Independent Power Marketer, or other Entity that the PUCT has determined to be an Eligible Transmission Service Customer.
33 |  | Dispatch Instruction | A specific command issued by ERCOT to a QSE, TSP or DSP in the operation of the ERCOT System.
34 | Distribution | Investor Owned Utilities (IOU)
35 |  | Electric Cooperative (EC) | a.A corporation organized under the Electric Cooperative Corporation Act, TEX. UTIL. CODE ANN. ch 161 (Vernon 1998 & Supp. 2007); b.A corporation organized as an electric cooperative in a state other than Texas that has obtained a certificate of authority to conduct business in Texas; or c.A successor to an electric cooperative created before June 1, 1999 under a conversion plan approved by a vote of the members of the electric cooperative, regardless of whether the successor later purchases, acquires, merges with, or consolidates with other electric cooperatives.
36 |  | Municipally Owned Utility (MOU) | A utility owned, operated, and controlled by a nonprofit corporation, the directors of which are appointed by one or more municipalities, or a utility owned, operated, or controlled by a municipality.
37 |  | External Load Serving Entities (ELSE) | An Entity that is registered as an LSE and is either: a.A distribution service provider (as that term is defined in P.U.C. Subst. R. 25.5, Definitions), which includes an electric utility, a Municipally Owned Utility (MOU), or an Electric Cooperative (EC) that has a legal duty to serve one or more Customers connected to the ERCOT System but that does not own or operate Facilities connecting Customers to the ERCOT System; or b.The CFE.
38 |  | Qualified Scheduling Entity | A Market Participant that is qualified by ERCOT in accordance with Section 16, Registration and Qualification of Market Participants, for communication with ERCOT for Resource Entities and LSEs and for settling payments and charges with ERCOT. Master Qualified Scheduling Entity (QSE) A QSE designated by Resource Entities owning or controlling a Generation Resource that has been split into two or more Split Generation Resources as set forth in Section 3.8.1, Split Generation Resources, that provides ERCOT data and dispatch on total Generation Resource basis in accordance with the Protocols.
39 |  | Non Opt-In Entity (NOIE) | An EC or MOU that does not offer Customer Choice.
40 |  | Load Serving Entity (LSE) | An Entity that sells energy to Customers or Wholesale Customers and that has registered as an LSE with ERCOT. LSEs include Competitive Retailers (which includes REPs) and NOIEs that serve Load and ELSEs.
41 |  | Wholesale Customer | A NOIE receiving service at wholesale points of delivery from an LSE other than itself.
42 |  | Retail Entity | An MOU, generation and transmission cooperative or distribution cooperative that offers Customer Choice; REP; or IOU that has not unbundled pursuant to Public Utility Regulatory Act (PURA), TEX. UTIL. CODE ANN. Â§ 39.051 (Vernon 1998 & Supp. 2007).
43 |  | Competitive Retailer (CR) | A Municipally Owned Utility (MOU) or an Electric Cooperative (EC) that offers Customer Choice and sells electric energy at retail in the restructured electric power market in Texas, or a Retail Electric Provider (REP). The CR assigned to the Electric Service Identifier (ESI ID) in ERCOT’s database. There can be no more than one CR of Record assigned to an ESI ID for any given time period.
44 |  | Provider of Last Resort (POLR) | The designated CR as defined in the P.U.C. SUBST. R. 25.43, Provider of Last Resort (POLR), for default Customer service, and as further described in Section 15.1, Customer Switch of Competitive Retailer.
45 |  | Customer Choice | The freedom of a retail Customer to purchase electric services, either individually or on an aggregated basis with other retail Customers, from the provider or providers of the Customer’s choice and to choose among various fuel types, energy efficiency programs, and renewable power suppliers.
46 | Retail | Energy Provider (EP)
47 |  | Retail Electric Provider (REP) | As defined in P.U.C. SUBST. R. 25.5, Definitions, an Entity that sells electric energy to retail Customers in Texas but does not own or operate generation assets and is not an MOU or EC.
48 |  | Affiliated Retail Electric Provider (AREP)
49 |  | Electric Service Identifier (ESI ID) | The basic identifier assigned to each Service Delivery Point used in the registration and settlement systems managed by ERCOT or another Independent Organization.
50 |  | Mass Transition | The transition of ESI IDs from one CR to a Provider of Last Resort (POLR) or designated CR, or from one TDSP to another TDSP, in a quantity or within a timeframe identified by Applicable Legal Authority
51 |  | Wholesale Storage Load (WSL) | Energy that is separately metered from all other Facilities to charge a technology that is capable of storing energy and releasing that energy at a later time to generate electric energy. WSL includes losses for the energy conversion process that are captured by the WSL EPS Meter. WSL is limited to the following technologies: batteries, flywheels, compressed air energy storage, pumped hydro-electric power, electro chemical capacitors, and thermal energy storage associated with turbine inlet chilling.
52 |  | Controllable Load Resource | A Load Resource capable of controllably reducing or increasing consumption under dispatch control by ERCOT.
53 |  | Direct Load Control (DLC) | The control of end-use equipment (e.g., air conditioning equipment, water heaters) to reduce or increase energy consumption during select periods.
54 | Metering related | TSP and DSP Metered Entity | Any Entity that meets the requirements of Section 10.2.2, TDSP Metered Entities.
55 |  | Meter Reading Entity (MRE) | A TSP or DSP that is responsible for providing ERCOT with ESI ID level consumption data as defined in Section 19, Texas Standard Electronic Transaction. In the case of an EPS Meter or ERCOT-populated ESI ID data (such as Generation Resource site Load), ERCOT will be identified as the MRE in ERCOT systems.
56 | Market related | Market Information System (MIS) | An electronic communications interface established and maintained by ERCOT that provides a communications link to the public and to Market Participants, as a group or individually.
57 |  | Market Participant | An Entity, other than ERCOT, that engages in any activity that is in whole or in part the subject of these Protocols, regardless of whether that Entity has signed an Agreement with ERCOT. Examples of such an Entity include but are not limited to the following: LSE, QSE, TDSP, CRR Account Holder, Resource Entity, IMRE and REC Account Holder.
58 |  | Independent Market Information System Registered Entity (IMRE) | A Market Participant that has signed the Standard Form Market Participant Agreement (as provided for in Section 22, Attachment A, Standard Form Market Participant Agreement), and has completed applicable registration and approval for the sole purpose of accessing the MIS Secure Area.
59 |  | Supplemental Ancillary Services Market (SASM)
60 |  | Qualifying Scheduling Entity (QSE) | A Market Participant that is qualified by ERCOT in accordance with Section 16, Registration and Qualification of Market Participants, for communication with ERCOT for Resource Entities and LSEs and for settling payments and charges with ERCOT. Master Qualified Scheduling Entity (QSE): A QSE designated by Resource Entities owning or controlling a Generation Resource that has been split into two or more Split Generation Resources as set forth in Section 3.8.1, Split Generation Resources, that provides ERCOT data and dispatch on total Generation Resource basis in accordance with the Protocols.
61 | Trade | Energy Trade | A QSE-to-QSE financial transaction that transfers responsibility for energy between a buyer and a seller at a Settlement Point.
62 |  | Ancillary Service Trade | A QSE-to-QSE transaction that transfers an obligation to provide Ancillary Service capacity between a buyer and a seller.
63 |  | Capacity Trade | A QSE-to-QSE financial transaction that transfers responsibility to supply capacity between a buyer and a seller at a Settlement Point.
64 |  | Independent Power Marketer (IPM)
65 |  | Hub | A designated Settlement Point consisting of a Hub Bus or group of Hub Buses and the associated Settlement price calculation methodology prescribed in the definition of the Hub in Section 3.5.2, Hub Definitions. Hubs may only be created by an amendment to Section 3.5.2. The list of Hub Buses and the Settlement price calculation methodology that define a Hub can never be modified, and a Hub, once defined, exists in perpetuity
66 |  | Continuous Service Agreement (CSA) | An arrangement between the owner or controller of a leased Premise and a CR wherein the CR provides service to the leased Premise between tenants so that the Premise does not experience discontinuation of electric service during vacancy.
67 |  | Congestion Revenue Right (CRR) | A financial instrument that entitles the holder to be charged or to receive compensation (i.e., congestion rent), depending on the instrument, when the ERCOT Transmission Grid is congested in the DAM or in Real-Time.
68 |  | Energy Imbalance Service | An Ancillary Service that is provided when a difference occurs between the scheduled and the actual delivery of energy in Real-Time.
69 |  | Frequency Measurable Event (FME) | An event that results in a frequency deviation, identified at ERCOT’s sole discretion, and meeting one of the following conditions: (a) A frequency deviation that has a pre-perturbation [the 16-second period of time before t(0)] average frequency to post-perturbation [the 32-second period of time starting 20 seconds after t(0)] average frequency absolute deviation greater than 100 mHz (the 100 mHz value may be adjusted by ERCOT to capture 30 to 40 events per year); or (b) A cumulative change in generating unit/generating facility, Direct Current Tie (DC Tie), and/or firm load pre-perturbation megawatt value to post-perturbation megawatt value absolute deviation greater than 550 MW (the 550 MW value may be adjusted by ERCOT to capture 30 to 40 events per year).
70 | ER & Black Start | Emergency Response Service (ERS) | An emergency service consistent with P.U.C. SUBST. R. 25.507, Electric Reliability Council of Texas (ERCOT) Emergency Response Service (ERS), used during an Energy Emergency Alert (EEA) to assist in maintaining or restoring ERCOT System frequency. ERS is not an Ancillary Service.
71 |  | Emergency Response Service (ERS) Resource | Either an ERS Load (A Load or aggregation of Loads contracted to provide ERS) or an ERS Generator (Either (1) an individual generator contracted to provide ERS which is not a Generation Resource or a source of intermittent renewable generation and which provides ERS by injecting energy to the ERCOT System, or (2) an aggregation of such generators).
72 |  | Black Start Resource (BSS) | A Generation Resource under contract with ERCOT to provide BSS.
73 |  | Quick Start Generation Resource | A Generation Resource that in its cold-temperature state can come On-Line within ten minutes of receiving ERCOT notice and has passed an ERCOT QSGR test that establishes an amount of capacity that can be deployed within a ten-minute period.

## Generation
Power Generating Stations in Texas
Nuclear power plants
1 | Comanche Peak Nuclear Power Plant | Merchant generators | Luminant Generation, a subsidiary of Vistra Energy
2 | South Texas Nuclear Generating Station |  | NRG Energy at 44 percent, San Antonio municipal utility CPS Energy at 40 percent and Austin Energy at 16 percent
Hydroelectric power plants
1 | Buchanan Dam | Lower Colorado River Authority | Managed by the Lower COlorado RIver Authority. The Texas House Bill 3693 requires governmental entities, including LCRA, to disclose the entity's metered amount of electricity, water and natural gas consumed, along with the aggregate costs for those utility services. LCRA staff also works with the Electric Reliability Council of Texas (ERCOT) to help develop and refine market guidelines for public power entities. LCRA maintains a diverse generation portfolio from coal, natural gas, water and purchased power.
2 | Inks Dam
3 | Mansfield Dam
4 | Max Starcke Dam
5 | Tom Miller Dam
6 | Wirtz Dam
7 | Denison Dam | Federally managed | U.S. Army Corps of Engineers
8 | Sam Rayburn
9 | Lake Whitney
10 | Amistad Dam |  | The dam and reservoir are part of the Amistad National Recreation Area, which is a park unit managed by National Park Service (NPS)
11 | Falcon Dam | Texas Parks and Wildlife Department
12 | Toledo Bend Dam | Built and governed exclusively by the states of Louisiana and Texas | Built and governed exclusively by the states of Louisiana and Texas
Solar power plants
1 | Blue Wing solar | Merchant generators | CPS Energy
2 | Webberville, Texas solar project |  | MetLife and Longsol Holdings US
3 | Alamo Solar Power Project |  | OCI Solar Power
Wind Power Plants
1 | Camp Springs Energy Center | Merchant | Invenergy LLC.
2 | Elbow Creek Wind Project |  | NRG Energy
3 | Goat Mountain Wind Ranch |  | Edison Mission Group
4 | Wildorado Wind Ranch
5 | Lone Star Wind Farm |  | EDP Renewables North America LLC
6 | Spinning Spur Wind Project
7 | Rocksprings Wind Farm |  | Akuo Energy
8 | Horse Hollow Wind Energy Center |  | InvestEnergyGroup
9 | Silver Star Wind Farm | Investor-Owned Utility | BP Wind Energy
10 | Capricorn Ridge Wind Farm |  | NextEra Energy Resources
11 | Desert Sky Wind Farm |  | American Electric Power
12 | Trent Wind Farm |  | American Electric Power
13 | Keechi Wind Project |  | Enbridge
14 | King Mountain Wind Farm |  | NextEra Energy Resources
15 | Peñascal Wind Power Project |  | Avangrid
16 | Sweetwater Wind Farm | MOU | CPS Energy
17 | Anacacho Wind Farm |  | E. ON Climate and Renewables North America (E.ON)
18 | Panther Creek Wind Farm
19 | Roscoe Wind Farm
20 | Buffalo Gap Wind Farm |  | Direct Energy Texas
21 | Brazos Wind Farm |  | Mitsubishi
Natural Gas Power Plants
1 | Antelope Elk Energy Center
2 | Bastrop Energy Center
3 | Black Hawk
4 | Brazos Valley
5 | Channel Energy Center
6 | Channelview
7 | Colorado Bend
8 | Decker Creek Power Station
9 | Decordova
10 | Deer Park
11 | Eagle Mountain
12 | Ennis
13 | Forney Energy Center
14 | Freestone
15 | Frontera
16 | Graham
17 | Gregory
18 | Guadalupe
19 | Handley
20 | Hays County
21 | Jack County
22 | Jones Generating Station
23 | Knox Lee Power Station
24 | Lake Hubbard
25 | Lewis Creek
26 | Lost Pines 1
27 | Magic Valley
28 | Midlothian
29 | Mountain Creek
30 | Mustang
31 | Odessa Ector
32 | Oyster Creek
33 | Plant X
34 | Rio Nogales
35 | Sabine
36 | Sam Berton
37 | Sam Rayburn
38 | Sam Gideon
39 | Sand Hill Energy Center
40 | Texas City Cogen
41 | Thomas C. Ferguson (Replacement Project)
42 | W. A. Parish
43 | (units 1 to 4)
44 | Wilkes Power Plant
45 | Winchester Power Park
46 | Wolf Hollow
Coal Power Plants
1 | Coleto Creek
2 | JT Deely
3 | Fayette
4 | Gibbons Creek
5 | Harrington
6 | Limestone
7 | Martin Lake
8 | Oak Grove
9 | Oklaunion
10 | Pirkey
11 | Sandy Creek
12 | Spruce
13 | Tolk
14 | W. A. Parish
15 | (units 5 to 8)
16 | Welsh
Biomass Power Plants
1 | Aspen Biomass Power Plant
2 | Nacogdoches Generating Facility
3 | Rio Grande Valley Sugar Growers
4 | Snider Industries
5 | Texarkana Mill
6 | Woodville Renewable Power
References
https://en.wikipedia.org/wiki/List_of_power_stations_in_Texas

## NERC_registration
NERC Active Compliance Registry Matrix as of 03/09/2018
NCR ID# | Entity Name | Regional Compliance Enforcement Authority | BA | DP | GO | GOP | PA/ PC | RC | RP | TO | TOP | TP | TSP
NCR11645 | AE Power Services LLC | Texas RE |  |  |  | GOP | [7 empty] | BA | Balancing Authority
NCR10001 | Air Liquide Large Industries U.S., LP | Texas RE |  |  | GO | [8 empty] | DP | Distribution Provider
NCR11641 | Alamo 6, LLC | Texas RE |  |  | GO | GOP | [7 empty] | GO | Generation Owner
NCR04006 | American Electric Power Service Corp as agent for AEP Texas Inc. and Public Service Company of Oklahoma | Texas RE |  | DP | GO | GOP |  |  |  | TO | TOP | TP |  | GOP | Generation Operator
NCR11265 | Anacacho Wind Farm, LLC | Texas RE |  |  | GO | [8 empty] | PA/PC | Planning Coordinator
NCR11746 | Astra Wind, LLC | Texas RE |  |  | GO | GOP | [7 empty] | RC | Reliability Coordinator
NCR10259 | Avangrid Renewables | Texas RE |  |  | GO | GOP | [7 empty] | RP | Resource Planner
NCR04008 | Bandera Electric Cooperative, Inc. | Texas RE |  | DP | [5 empty] | TO |  | TP |  | TO | Transmission Owner
NCR04009 | Barney M Davis LP | Texas RE |  |  | GO | GOP | [7 empty] | TOP | Transmission Operator
NCR04010 | Barney M Davis Unit 1 | Texas RE |  |  | GO | GOP | [7 empty] | TP | Transmission Planner
NCR04011 | BASF Corp | Texas RE |  |  | GO | GOP | [7 empty] | TSP | Transmission Service Provider
NCR04012 | Bastrop Energy Partners, LP | Texas RE |  |  | GO | GOP
NCR11814 | Bearkat Wind Energy I, LLC | Texas RE |  |  | GO | GOP | [8 empty] | Municipal DP
NCR11809 | Big Country Electric Cooperative, Inc | Texas RE |  | DP-UFLS | [10 empty] | Other DP (May include T)
NCR04013 | Bluebonnet Electric Co Op, Inc. | Texas RE |  | DP | [5 empty] | TO |  | TP |  |  | GO/GOP (Rarely includes T)
NCR11320 | Bobcat Bluff Wind Project, LLC | Texas RE |  |  | GO | GOP | [8 empty] | DP+GO+GOP
NCR04015 | Brazos Electric Power Co Op, Inc. | Texas RE |  | DP | GO | GOP |  |  |  | TO | TOP | TP |  |  | ERCOT
NCR10210 | Brazos Wind, LP | Texas RE |  |  | GO | GOP
NCR11576 | Briscoe Wind Farm, LLC | Texas RE |  |  | GO | GOP
NCR04018 | Brownsville Public Utilities Board | Texas RE |  | DP | [5 empty] | TO | TOP | TP
NCR04021 | Brownsville Public Utilities Board Silas Ray | Texas RE |  |  | GO | GOP
NCR11799 | Bruenning's Breeze Wind Farm, LLC | Texas RE |  |  | GO
NCR04022 | Bryan Texas Utilities | Texas RE |  | DP | [5 empty] | TO | TOP | TP
NCR04025 | Buffalo Gap Wind Farm, LLC | Texas RE |  |  | GO | GOP
NCR10290 | Bull Creek Wind, LLC | Texas RE |  |  | GO | GOP
NCR00006 | Calpine Corporation | Texas RE |  |  | GO | GOP
NCR11591 | Cameron Wind I, LLC | Texas RE |  |  | GO | GOP
NCR04028 | CenterPoint Energy Houston Electric, LLC | Texas RE |  | DP | [5 empty] | TO | TOP | TP
NCR10175 | Central Texas Electric Cooperative, Inc. | Texas RE |  | DP
NCR11067 | CER-Colorado Bend Energy Partners LP | Texas RE |  |  | GO | GOP
NCR11807 | Chamon Power LLC | Texas RE |  |  | GO | GOP
NCR10173 | Champion Wind Farm, LLC | Texas RE |  |  | GO
NCR11763 | Chapman Ranch Wind I, LLC | Texas RE |  |  | GO | GOP
NCR04029 & NCR04030 | City of Austin dba Austin Energy | Texas RE |  | DP | GO | GOP |  |  |  | TO | TOP | TP
NCR04032 | City of College Station | Texas RE |  | DP | [5 empty] | TO | TOP | TP
NCR04033 - NCR04035 | City of Garland | Texas RE |  | DP | GO | GOP
NCR10004 | City of Georgetown | Texas RE |  | DP
NCR10189 | City of San Marcos | Texas RE |  | DP
NCR11627 | Colbeck's Corner, LLC | Texas RE |  |  | GO
NCR11804 | Coleman County Electric Cooperative, Inc. | Texas RE |  | DP-UFLS
NCR11790 | Concho Valley Electric Cooperative, Inc. | Texas RE |  | DP-UFLS
NCR11605 | Consolidated Edison Development, Inc. | Texas RE |  |  | GO | GOP
NCR11735 | Cotton Plains Wind I, LLC | Texas RE |  |  | GO | GOP
NCR04037 - NCR04038 | CPS Energy | Texas RE |  | DP | GO | GOP |  |  |  | TO | TOP | TP
NCR11114 | Cross Texas Transmission, LLC | Texas RE | [7 empty] | TO | TOP | TP
NCR04049 | Denton Municipal Electric | Texas RE |  | DP | [5 empty] | TO | TOP | TP
NCR11750 | Dermott Wind, LLC | Texas RE |  |  | GO | GOP
NCR04050 | Desert Sky Wind Farm, LP | Texas RE |  |  | GO | GOP
NCR04051 | Direct Energy, LP | Texas RE |  |  |  | GOP
NCR11032 | Duke Energy Renewables Services, LLC | Texas RE |  |  |  | GOP
NCR00200 | Dynegy Inc. | Texas RE |  |  | GO | GOP
NCR10334 | EC&R Panther Creek Wind Farm III, LLC | Texas RE |  |  | GO
NCR11383 | EC&R QSE, LLC | Texas RE |  |  |  | GOP
NCR11556 | Ector County Energy Center LLC | Texas RE |  |  | GO | GOP
NCR00551 | EDF Energy Services, LLC | Texas RE |  |  |  | GOP
NCR11441 | EDF Renewable Service | Texas RE |  |  |  | GOP
NCR11662 | EDP Renewables North America LLC | Texas RE |  |  |  | GOP
NCR11430 | EIF Channelview Cogeneration, LLC | Texas RE |  |  | GO
NCR11698 | Electra Wind, LLC | Texas RE |  |  | GO | GOP
NCR04056 | Electric Reliability Council of Texas, Inc. | Texas RE | BA |  |  |  | PA / PC | RC | RP |  | TOP |  | TSP
NCR10211 | Electric Transmission Texas, LLC | Texas RE | [7 empty] | TO |  | TP
NCR04055 | Equistar Chemical, LP | Texas RE |  |  | GO
NCR04057 | Exelon Generation Company, LLC | Texas RE |  |  | GO | GOP
NCR04058 | Exxonmobil Refining and Supply Company | Texas RE |  |  | GO | GOP
NCR11726 | First Solar Electric-East Pecos, LLC | Texas RE |  |  |  | GOP
NCR11824 | Flat Top Wind I, LLC | Texas RE |  |  | GO | GOP
NCR10262 | Floresville Electric Light & Power System | Texas RE |  | DP | [5 empty] | TO
NCR11769 | Fluvanna Wind Energy LLC | Texas RE |  |  | GO | GOP
NCR04003 | Forest Creek Wind Farm, LLC | Texas RE |  |  | GO
NCR04059 | Formosa Utility Venture, Ltd. | Texas RE |  |  | GO | GOP
NCR04074 | GEN TEX Power Corp | Texas RE |  |  | GO
NCR04075 - NCR04076 | GEUS | Texas RE |  | DP-UFLS | GO
NCR10020 | Golden Spread Electric Cooperative, Inc. | Texas RE |  |  | GO
NCR11364 | Goldthwaite Wind Energy LLC | Texas RE |  |  | GO | GOP
NCR11491 | Grandview Wind Farm, LLC | Texas RE |  |  | GO
NCR11510 | Green Pastures Wind I, LLC. | Texas RE |  |  | GO | GOP
NCR11573 | Green Pastures Wind II, LLC | Texas RE |  |  | GO | GOP
NCR11365 | Gregory Power Partners LLC | Texas RE |  |  | GO | GOP
NCR04079 | Guadalupe Valley Electric Co Op Inc. | Texas RE |  | DP | [5 empty] | TO |  | TP
NCR11631 | Gunsight Mountain Wind Energy LLC | Texas RE |  |  | GO | GOP
NCR00210 | Hackberry Wind, LLC | Texas RE |  |  | GO | GOP
NCR11688 | Hidalgo Wind Farm LLC | Texas RE |  |  | GO | GOP
NCR11690 | Horse Creek Wind, LLC | Texas RE |  |  | GO | GOP
NCR00379 | Inadale Wind Farm, LLC | Texas RE |  |  | GO
NCR04082 | Ingleside Cogeneration, LP | Texas RE |  |  | GO | GOP
NCR11392 | International Boundary and Water Commission, US Section | Texas RE |  |  | GO | GOP
NCR11694 | Invenergy Services LLC | Texas RE |  |  |  | GOP
NCR00166 | Jackson Electric Cooperative, Inc. | Texas RE |  | DP
NCR10178 | Karnes Electric Cooperative, Inc. | Texas RE |  | DP
NCR11497 | Keechi Wind, LLC | Texas RE |  |  | GO | GOP
NCR10179 | Kerrville Public Utility Board | Texas RE |  | DP
NCR04088 | Kiowa Power Partners, LLC | Texas RE |  |  | GO | GOP |  |  |  | TO
NCR11817 | Lamar County Electric Cooperative Association | Texas RE |  | DP-UFLS
NCR04090 | Laredo WLE, LP | Texas RE |  |  | GO | GOP
NCR04091 | LCRA Transmission Services Corporation | Texas RE | [7 empty] | TO | TOP | TP
NCR11076 | Lone Star Transmission, LLC | Texas RE | [7 empty] | TO | TOP | TP
NCR11503 | Longhorn Wind Project, LLC | Texas RE |  |  | GO | GOP
NCR11075 | Loraine Windpark Project, LLC | Texas RE |  |  | GO | GOP
NCR11267 | Los Vientos Windpower IA, LLC | Texas RE |  |  | GO
NCR11266 | Los Vientos Windpower IB, LLC | Texas RE |  |  | GO
NCR11538 | Los Vientos Windpower III, LLC | Texas RE |  |  | GO
NCR11635 | Los Vientos Windpower IV, LLC | Texas RE |  |  | GO
NCR11603 | Los Vientos Windpower V, LLC | Texas RE |  |  | GO
NCR04092 | Lower Colorado River Authority | Texas RE |  |  |  | GOP
NCR04093 | Lower Colorado River Authority | Texas RE |  |  | GO
NCR10133 | Luminant Energy Company, LLC | Texas RE |  |  |  | GOP
NCR10219 | Luminant Generation Company, LLC | Texas RE |  |  | GO
NCR11798 | Lyntegar Electric Cooperative, Inc. | Texas RE |  | DP-UFLS
NCR04094 | Magic Valley Electric Coop Inc. | Texas RE |  | DP
NCR11242 | Magic Valley Wind Farm I, LLC | Texas RE |  |  | GO
NCR11493 | Major Oak Power, LLC | Texas RE |  |  | GO | GOP
NCR11701 | Mariah del Norte LLC | Texas RE |  |  | GO | GOP
NCR11636 | MaxGen Energy Services | Texas RE |  |  |  | GOP
NCR00087 | McAdoo Wind Energy, LLC | Texas RE |  |  | GO | GOP
NCR10246 | Medina Electric Cooperative, Inc. | Texas RE |  | DP
NCR11511 | Mesquite Creek Wind LLC | Texas RE |  |  | GO | GOP
NCR04097 | Mesquite Wind LLC | Texas RE |  |  | GO | GOP
NCR11478 | Miami Wind I, LLC | Texas RE |  |  | GO | GOP
NCR11508 | NAES Corporation - Quail Run Energy Center | Texas RE |  |  |  | GOP
NCR11181 | NAES Corporation-Sandy Creek Energy Station | Texas RE |  |  |  | GOP
NCR04101 | New Braunfels Utilities | Texas RE |  | DP | [5 empty] | TO |  | TP
NCR10019 | NextEra Energy Resources, LLC | Texas RE |  |  | GO | GOP
NCR10276 | Notrees Windpower, LP | Texas RE |  |  | GO
NCR10326 | NRG Cedar Bayou Development Co, LLC | Texas RE |  |  | GO | GOP
NCR11642 | NRG Energy Services-Golden Spread | Texas RE |  |  |  | GOP
NCR11829 | NRG Renew LLC | Texas RE |  |  | GO | GOP
NCR10090 | NRG Texas Power, LLC | Texas RE |  |  | GO | GOP
NCR00769 | NRG Yield Operating LLC | Texas RE |  |  | GO | GOP
NCR04106 | Nueces Bay WLE LP | Texas RE |  |  | GO | GOP
NCR10180 | Nueces Electric Cooperative, Inc. | Texas RE |  | DP
NCR11736 | Old Settler Wind, LLC | Texas RE |  |  | GO | GOP
NCR04109 | Oncor Electric Delivery Company LLC | Texas RE |  | DP | [5 empty] | TO | TOP | TP
NCR10072 | Optim Energy Altura Cogen, LLC | Texas RE |  |  | GO
NCR04110 | Oxy Vinyls LP | Texas RE |  |  | GO | GOP
NCR11470 | Panda Sherman Power, LLC | Texas RE |  |  | GO | GOP
NCR11462 | Panda Temple Power, LLC | Texas RE |  |  | GO | GOP
NCR10249 | Panther Creek Wind Farm I & II, LLC | Texas RE |  |  | GO
NCR10335 | Papalote Creek I, LLC | Texas RE |  |  | GO
NCR11033 | Papalote Creek II, LLC | Texas RE |  |  | GO
NCR04138 | Paris Generation, LP | Texas RE |  |  | GO | GOP
NCR11808 | Pattern Operators LP | Texas RE |  |  | GO | GOP
NCR04111 | Pedernales Elec Co Op Inc. | Texas RE |  | DP | [5 empty] | TO |  | TP
NCR11346 | Petra Nova Power I LLC | Texas RE |  |  | GO | GOP
NCR11227 | Phillips 66 Company | Texas RE |  |  |  | GOP
NCR11765 | Port Comfort Power LLC | Texas RE |  |  | GO | GOP
NCR10167 | Post Oak Wind, LLC | Texas RE |  |  | GO | GOP
NCR04112 | Power Resources LTD | Texas RE |  |  | GO
NCR00338 | Pyron Wind Farm, LLC | Texas RE |  |  | GO
NCR11525 | Quail Run Energy Partners, LP | Texas RE |  |  | GO
NCR11547 | Rattlesnake Wind I LLC | Texas RE |  |  | GO | GOP
NCR04113 | Rayburn Country Co op dba Rayburn Electric | Texas RE |  | DP
NCR11725 | RES Americas Wind Operations, Inc. | Texas RE |  |  |  | GOP
NCR03038 | Rio Grande Electric Co Op | Texas RE |  | DP
NCR11774 | Rocksprings Val Verde Wind LLC | Texas RE |  |  | GO | GOP
NCR10174 | Roscoe Wind Farm, LLC | Texas RE |  |  | GO
NCR11544 | Route 66 Wind Power, LLC | Texas RE |  |  | GO | GOP
NCR04118 | San Bernard Electric Coop, Inc. | Texas RE |  | DP | [5 empty] | TO |  | TP
NCR00253 | San Miguel Electric Cooperative, Inc. | Texas RE |  |  | GO | GOP
NCR11646 | San Roman Wind I, LLC | Texas RE |  |  | GO | GOP
NCR04004 | Sand Bluff Wind Farm LLC | Texas RE |  |  | GO
NCR11182 | Sandy Creek Services, LLC | Texas RE |  |  | GO
NCR11818 | Santa Rita Wind Energy LLC | Texas RE |  |  | GO
NCR10321 | Scurry County Wind II, LLC | Texas RE |  |  | GO | GOP
NCR10027 | Scurry County Wind, LP | Texas RE |  |  | GO | GOP
NCR11274 | Senate Wind, LLC | Texas RE |  |  | GO | GOP
NCR11566 | Shannon Wind, LLC | Texas RE |  |  | GO | GOP
NCR04119 | Sharyland Utilities, L.P. | Texas RE | [7 empty] | TO | TOP | TP
NCR10261 | Sherbino I Wind Farm, LLC | Texas RE |  |  | GO | GOP
NCR11206 | Sherbino II Wind Farm LLC | Texas RE |  |  | GO | GOP
NCR11202 | Signal Hill Generating LLC | Texas RE |  |  | GO | GOP
NCR11310 | South Houston Green Power, LLC | Texas RE |  |  | GO | GOP
NCR11620 | South Plains Wind Energy II, LLC | Texas RE |  |  | GO | GOP
NCR11579 | South Plains Wind Energy, LLC | Texas RE |  |  | GO | GOP
NCR04124 | South Texas Electric Cooperative, Inc. | Texas RE |  |  | GO | GOP |  |  |  | TO | TOP | TP
NCR11221 | Southern Power Company | Texas RE |  |  | GO | GOP
NCR11789 | Southwest Texas Electric Cooperative, Inc. | Texas RE |  | DP-UFLS
NCR11575 | Spinning Spur Wind Three, LLC | Texas RE |  |  | GO | GOP
NCR11464 | Spinning Spur Wind Two | Texas RE |  |  | GO | GOP
NCR10224 | Stanton Wind Energy, LLC | Texas RE |  |  | GO | GOP
NCR11507 | Stephens Ranch Wind Energy | Texas RE |  |  | GO
NCR04127 | STP Nuclear Operating Company | Texas RE |  |  | GO | GOP
NCR11689 | Sustaining Power Solutions LLC | Texas RE |  |  |  | GOP
NCR10183 | Sweeny Cogeneration, LP | Texas RE |  |  | GO
NCR04132 | Sweetwater Wind 2, LLC | Texas RE |  |  | GO | GOP
NCR04133 | Sweetwater Wind 3 LLC | Texas RE |  |  | GO | GOP
NCR04135 | Sweetwater Wind 4 LLC | Texas RE |  |  | GO | GOP
NCR02715 | Sweetwater Wind 5, LLC | Texas RE |  |  | GO | GOP
NCR11384 | Taylor Electric Cooperative, Inc. | Texas RE |  | DP-UFLS
NCR04136 | Tenaska Frontier Partners LTD | Texas RE |  |  | GO | GOP
NCR04137 | Tenaska Gateway Partners LTD | Texas RE |  |  | GO | GOP
NCR04139 | Tenaska Power Services Co. | Texas RE |  |  |  | GOP
NCR01342 | Tex-La Electric Cooperative of Texas, Inc. | Texas RE |  | DP
NCR11116 | Texas Medical Center Central Heating and Cooling Services Corp | Texas RE |  |  | GO
NCR11456 - NCR04141 | Texas Municipal Power Agency | Texas RE |  |  | GO |  |  |  |  | TO
NCR04143 | Texas-New Mexico Power Co | Texas RE |  | DP | [5 empty] | TO | TOP | TP
NCR04146 | The Dow Chemical Co | Texas RE |  |  | GO | GOP
NCR04148 | Trent Wind Farm LP | Texas RE |  |  | GO | GOP
NCR11205 | Trinity Hills Wind Farm LLC | Texas RE |  |  | GO | GOP
NCR10277 | Turkey Track Wind Energy Center | Texas RE |  |  | GO | GOP
NCR11495 | TX Hereford Wind, LLC | Texas RE |  |  | GO | GOP
NCR11519 | TX Jumbo Road Wind, LLC | Texas RE |  |  | GO | GOP
NCR04156 | USACE - Tulsa District | Texas RE |  |  | GO
NCR10181 | Victoria Electric Cooperative, INC. | Texas RE |  | DP
NCR04159 | Victoria WLE LP | Texas RE |  |  | GO | GOP
NCR04160 | Weatherford Municipal Utility System | Texas RE |  | DP
NCR01160 | Western Farmers Electric Cooperative | Texas RE | [7 empty] | TO |  | TP
NCR11784 | Willow Springs Windfarm, LLC | Texas RE |  |  | GO | GOP
NCR11074 | Wind Energy Transmission Texas, LLC | Texas RE | [7 empty] | TO | TOP | TP
NCR11506 | WorleyParsons Group Inc. | Texas RE |  |  |  | GOP

## Matrix
ERCOT Industry Structure Matrix
COLORS | LAYERS | Federal Legislator
| Reliability Coordination | 1> sets policy for 1> | Federal Regulator
| Market Interaction |  | 1> approval and oversight 1> | NERC |  |  |  | <1 provides reports on reliability to <1
| Retail |  |  |  | Texas Legislature
| Federal Regulation |  |  |  | 1> enacts policy through 1> | Public Utility Commission of Texas | <1 reports on competitive performance & operational efficiency <1 | [17 empty] | <1 registering with or reporting to <0m
| State regulation | [5 empty] | Independent Market Monitor
| Energy and Services |  |  | 1> delegates development & enforcement of standards 1> |  | 1> delegates reliability monitoring to 1> |  | Texas Reliability Entity
| Control and Coordination |  | 1> regulates 1m> | [5 empty] | Power Market Administration
|  |  |  | 1> oversight on compliance 1> |  | 1> oversees and regulates 1> |  | 1> compliance enforcement 1> |  | ERCOT - Reliability Coordinator
<1> | Only 1 | [5 empty] | 1> monitors market participants & rules 1> |  |  |  | ERCOT - Wholesale Market Operator
<01> | Zero or 1 | [10 empty] | ERCOT - Retail Market Operator | [9 empty] | <1m provides meter reads and customer connection <1
<0m> | Zero or more | [11 empty] | ERCOT - Balancing Authority |  | <1 directs system restoration <1 | <1m directs system restoration <1
<1m> | One or more | [8 empty] | 1> reliability alerts 1> |  |  |  | ERCOT - Transmission Service Provider
Dashed border | relationships in absence of any REP | [12 empty] | 1> coordinate transfer capabilities 1> | ERCOT - Transmission Operator | <1m coordinate power exchange <1 <1m coordinates operations <1 <m interchange power <1 | [5 empty] | <1m coordinates operations <1 | [5 empty] | <1m provide bulk power services to <1
| s |  |  |  |  | 1> regulates 1m> |  | 1> compliance enforcement 1m> | [5 empty] | 1> coordinate transfer capabilities 1m> | 1> coordinate power exchange 1m> 1> coordinates operations 1m> 1> interchange power 1m> | Other Transmission Operators | <1 is a type of <1 <1 is a type of <1 |  |  |  |  | <1m coordinates operations <1m | [5 empty] | <1m provide bulk power services to <1m
|  |  | 1> regulates 1m> | 1> oversight on compliance 1m> | [8 empty] | 1> coordinates interchangel 1m> | 1> DC interchange services 1m> |  |  | Neighboring Grids with DC Ties
|  |  | 1> regulates operation 1m> |  |  |  |  | 1> compliance enforcement 1m> | 1m> markets wholesale electric power produced by 1m> | 1> monitor & directs 1m> | [7 empty] | Federal Hydro Generators
|  |  | 1> licenses & inspects 1m> |  |  |  |  | 1> compliance enforcement 1m> |  | 1> monitor & directs 1m> | [8 empty] | Public Hydro Generators
[8 empty] | 1> compliance enforcement 1m> |  | 1> monitor & directs 1m> | [9 empty] | Merchant Generators
[8 empty] | 1> compliance enforcement 1m> |  | 1> monitor & directs 1m> | [10 empty] | Distributed Generator (DG)
|  |  |  | 1> oversight on compliance 1m> |  | 1> regulates 1m> |  | 1> compliance enforcement 1m> |  | 1> monitor & directs 1m> |  |  |  |  | 1> coordinates operations 1m> 1> deliver power to 1m> | 1> coordinates operation 1m> 1m> deliver power to 1m> | [5 empty] | Distribution Provider
[6 empty] | 1> regulates 1m> | [5 empty] | 1> provides customer switch information 1m> | [9 empty] | 1m> operates distribution facilities & provides services for 1m> | Competitive Retail Electric Provider (REP) | <0 negotiate and purchase electricity from <1m | [6 empty] | <1 serves customers via <1m
[6 empty] | 1> regulates 1m> | [17 empty] | Aggregators
[25 empty] | Bulk Power Marketers, Arbitragers |  |  |  | <0m represents <1
[22 empty] | 1> deliver power to 1m> | 1> sells retail electricity to 0m> | 1> sells retail electricity to 0m> |  | C&I Consumers |  |  |  |  | <0m provides wire services to <1 | <1 sells retail electricity to <0m
[22 empty] | 1> deliver power to 1m> | 1> sells retail electricity to 1m> | 1>sells retail electricity to 0m> |  |  | Residential Consumers |  |  |  | <0m provides wire services to <1 | <1 sells retail electricity to <1m
[9 empty] | 0m> Owns or controls 1> | [8 empty] | 0m> Owns or controls 1> | 0m> Owns or controls 1> | 0m> Owns or controls 1> | 0> Owns or controls 1> | [6 empty] | Resource Entity | <1 represents <0m
[11 empty] | 1> transacts with 1m> |  | 1> balancing & control 1m> | [14 empty] | 1m> balancing & control 1> | Qualified Scheduling Entity
[23 empty] | 0m> is a type of 1m> | [5 empty] | 1> represents 0m> | Load Serving Entity | <1m is a type of <0m | <1m is a type of <0m
[22 empty] | 1> owns & operates 1> | [8 empty] | Opt In Entity
[22 empty] | 1> owns & operates 1> |  | 0m> negotiate and purchase electricity from 1> | [5 empty] | 1> represents 1m> |  | Non Opt In Entity
[28 empty] | 0m> can transact in 0m> | 0m> can transact in 0m> | 0m> can transact in 0m> |  |  | Bilateral Market

## Questions
Questions
1 | In any of the regulation layers (federal or state), is there any entity regulating the resource entities, load serving entities etc.?
2 | Operating Reserve Demand Curve (ORDC) - A complex economic mechanism under discussion at ERCOT designed to provide additional assurance that wholesale power is priced more accurately based on its value, depending on electric demand. How do we represent this in the market control structure diagram?
3 | Office of Public Utility Counsel (OPUC) - OPUC is an agency created to represent the interests of residential and small commercial customers in state utility matters before the PUC, courts, and other utility regulatory agencies. Do we need to show any relationships with OPUC?
4 | Does PUC regulate "bilateral markets" in any way?