## List_entities
Northwest Grid Architecture - Blocks |  | Northwest Grid Architecture - Blocks
Updated List - GTD_separate |  | Updated List - GTD_integrations
1 | Federal Legislature | 1 | Federal Legislature
2 | State Legislature | 2 | State Legislature
3 | Federal Regulators | 3 | Federal Regulators
4 | State Regulators | 4 | State Regulators
5 | Peak RC | 5 | Peak RC
6 | BPA Power Marketing Administration | 6 | BPA Power Marketing
7 | BPA Balancing Authority | 7 | BPA Balancing Authority
8 | BPA Transmission Services | 8 | BPA Transmission Owner
9 | NPCC | 9 | BPA Transmission Operator
10 | NERC | 10 | BPA Transmission Service Provider
11 | WECC | 11 | NPCC
12 | Federal Dams & Hydro Generators | 12 | NERC
13 | Public Hydro Generators | 13 | WECC
14 | Merchant Generators (IPPs) | 14 | Other Transmission Owners
15 | Energy Northwest | 15 | Distribution service providers
16 | Other Balancing Authorities | 16 | GENCO.
17 | Other Transmission Providers | 17 | G & T | G + TO
18 | Distribution Service Provider | 18 | T & D | TO + D
19 | Investor Owned Utilities | 19 | G, T & D | G+D+TO+(TOP)
20 | PUDs, Muncipals, Cooperatives | 20 | Vertically Ingrated companies
21 | Utility Governance | 21 | Direct Service Industries | Deleted IoUs and PUs since they may fall under one of the other entities
22 | Direct Service Industries | 22 | C&I Customers
23 | C&I Customers | 23 | Residential Customers
24 | Residential Customers | 24 | Aggregators
25 | Aggregators | 25 | Energy Imbalance Market
26 | Energy Imbalance Market | 26 | CAISO
27 | CAISO | 27 | Power Marketers
28 | Power Marketers | 28 | Exchange
29 | Exchanges | 29 | Federal Columbia River Power System
30 | Federal Columbia River Power System

## NERC_reg
NERC Active Compliance Registry Matrix as of 03/09/2018
| NCR ID# | Entity Name | Regional Compliance Enforcement Authority | Jurisdiction | BA | DP | GO | GOP | PA/PC | RC | RP | TO | TOP | TP | TSP
1 | NCR10259 | Avangrid Renewables | WECC | United States |  |  | GO (10/08/2007) | GOP (06/17/2007)
2 | NCR05020 | Avista Corporation | WECC | United States | BA (06/17/2007) | DP (06/17/2007) | GO (06/17/2007) | GOP (06/17/2007) | PA / PC (06/17/2007) |  | RP (06/17/2007) | TO (06/17/2007) | TOP (06/17/2007) | TP (06/17/2007) | TSP (06/17/2007)
3 | NCR05032 | Bonneville Power Administration | WECC | United States | BA (06/17/2007) |  |  |  | PA / PC (06/17/2007) |  | RP (06/17/2007) | TO (06/17/2007) | TOP (06/17/2007) | TP (06/17/2007) | TSP (06/17/2007)
4 | NCR11170 | Caithness Shepherds Flat, LLC | WECC | United States |  |  | GO (08/18/2011) | GOP (08/18/2011)
5 | NCR05088 | City of McMinnville | WECC | United States |  | DP (06/17/2007)
6 | NCR11025 | City of Spokane Waste-to-Energy Facility | WECC | United States |  |  | GO (08/10/2007) | GOP (11/17/2014)
7 | NCR05097 | City of Tacoma, Department of Public Utilities, Light Division | WECC | United States | BA (06/17/2007) | DP (06/17/2007) | GO (06/17/2007) | GOP (06/17/2007) | PA / PC (06/17/2007) |  | RP (06/17/2007) | TO (06/17/2007) | TOP (06/17/2007) | TP (06/17/2007) | TSP (05/08/2009)
8 | NCR10043 | Columbia Basin Hydropower | WECC | United States |  |  | GO (08/23/2007) | GOP (08/23/2007)
9 | NCR05123 | Cowlitz County PUD No. 1 | WECC | United States |  | DP (06/17/2007) | GO (06/17/2007) |  |  |  |  | TO (06/17/2007)
10 | NCR11662 | EDP Renewables North America LLC | WECC | United States |  |  |  | GOP (08/15/2016)
11 | NCR00209 | Energy Northwest - Columbia | WECC | United States |  |  | GO (06/30/2008) | GOP (06/30/2008)
12 | NCR00250 | Energy Northwest - Energy/Business Services | WECC | United States |  |  | GO (06/30/2008) | GOP (06/30/2008)
13 | NCR05153 | Eugene Water & Electric Board | WECC | United States |  | DP (06/17/2007) | GO (06/17/2007) | GOP (06/17/2007) |  |  |  | TO (06/17/2007) | TOP (05/08/2009) | TP (06/17/2007)
14 | NCR11325 | Exelon Generation Co. LLC | WECC | United States |  |  | GO (03/06/2013)
15 | NCR05164 | Frederickson Power LP | WECC | United States |  |  | GO (06/17/2007) | GOP (06/17/2007)
16 | NCR05172 | Grays Harbor County PUD | WECC | United States |  | DP (06/17/2007) | [5 empty] | TO (06/17/2007) |  | TP (08/17/2017)
17 | NCR02551 | Grays Harbor Energy LLC | WECC | United States |  |  | GO (09/12/2007) | GOP (09/12/2007)
18 | NCR11393 | Gridforce Energy Management, LLC | WECC | United States | BA (11/22/2013)
19 | NCR05181 | Hermiston Generating Co., L.P. | WECC | United States |  |  | GO (06/17/2007) | GOP (06/17/2007)
20 | NCR05206 | Klickitat County PUD | WECC | United States |  | DP (06/17/2007) | [5 empty] | TO (06/17/2007)
21 | NCR11306 | NAES Corporation - Ferndale | WECC | United States |  |  |  | GOP (11/15/2012)
22 | NCR11104 | NAES Corporation - Harvest Wind Project | WECC | United States |  |  | GO (03/01/2013) | GOP (11/01/2009)
23 | NCR11830 | NAES Corporation - Sunnyside Cogeneration | WECC | United States |  |  | GO (02/05/2018) | GOP (02/05/2018)
24 | NCR00418 | NAES Corporation - White Creek Wind 1 | WECC | United States |  |  | GO (03/01/2013) | GOP (07/23/2008)
25 | NCR05280 | Northern Wasco County People's Utility District | WECC | United States |  | DP (06/17/2007) | [5 empty] | TO (06/17/2007)
26 | NCR05281 | Northwest Power Pool Reserve Sharing Group | WECC | United States
27 | NCR05287 | Oregon Trail Electric Consumers Cooperative | WECC | United States | [7 empty] | TO (06/17/2007)
28 | NCR05304 | PacifiCorp | WECC | United States | BA (06/17/2007) | DP (06/17/2007) | GO (06/17/2007) | GOP (06/17/2007) | PA / PC (06/17/2007) |  | RP (06/17/2007) | TO (06/17/2007) | TOP (06/17/2007) | TP (06/17/2007) | TSP (06/17/2007)
29 | NCR11344 | Palouse Wind, LLC | WECC | United States |  |  | GO (05/16/2013) | GOP (08/04/2016)
30 | NCR10289 | Peak Reliability | WECC | United States | [5 empty] | RC (12/23/2008)
31 | NCR05315 | Pend Oreille County Public Utility District No. 1 | WECC | United States |  | DP (06/17/2007) | GO (06/17/2007) | GOP (06/17/2007) |  |  |  | TO (06/17/2007)
32 | NCR05325 | Portland General Electric Company | WECC | United States | BA (06/17/2007) | DP (06/17/2007) | GO (06/17/2007) | GOP (06/17/2007) | PA / PC (06/17/2007) |  | RP (06/17/2007) | TO (06/17/2007) | TOP (06/17/2007) | TP (06/17/2007) | TSP (06/17/2007)
33 | NCR05340 | Public Utility District #1 of Lewis County | WECC | United States |  |  | GO (06/17/2007) | GOP (06/17/2007) |  |  |  | TO (06/17/2007)
34 | NCR05337 | Public Utility District No. 1 of Benton County | WECC | United States |  | DP (06/17/2007)
35 | NCR05338 | Public Utility District No. 1 of Chelan County | WECC | United States | BA (06/17/2007) | DP (06/17/2007) | GO (06/17/2007) | GOP (06/17/2007) | PA / PC (01/28/2014) |  | RP (06/17/2007) | TO (06/17/2007) | TOP (06/17/2007) | TP (06/17/2007)
36 | NCR05334 | Public Utility District No. 1 of Clark County | WECC | United States |  | DP (06/17/2007) | GO (06/17/2007) | GOP (06/17/2007) |  |  |  | TO (06/17/2007) | TOP (05/08/2009)
37 | NCR05286 | Public Utility District No. 1 of Okanogan County | WECC | United States |  | DP (06/17/2007) | [5 empty] | TO (06/17/2007)
38 | NCR05335 | Public Utility District No. 1 of Snohomish County | WECC | United States |  | DP (06/17/2007) | GO (06/17/2007) | GOP (06/17/2007) |  |  |  | TO (06/17/2007) | TOP (02/06/2009) | TP (03/27/2009)
39 | NCR05522 | Public Utility District No. 1 of Whatcom County | WECC | United States | [7 empty] | TO (08/10/2007)
40 | NCR05342 | Public Utility District No. 2 of Grant County, Washington | WECC | United States | BA (06/17/2007) | DP (06/17/2007) | GO (06/17/2007) | GOP (06/17/2007) | PA / PC (05/18/2010) |  | RP (06/17/2007) | TO (06/17/2007) | TOP (06/17/2007) | TP (06/17/2007)
41 | NCR05343 | PUD No. 1 of Douglas County | WECC | United States | BA (06/17/2007) | DP (06/17/2007) | GO (06/17/2007) | GOP (06/17/2007) |  |  | RP (06/17/2007) | TO (06/17/2007) | TOP (06/17/2007) | TP (06/17/2007)
42 | NCR05344 | Puget Sound Energy, Inc. | WECC | United States | BA (06/17/2007) | DP (06/17/2007) | GO (06/17/2007) | GOP (06/17/2007) | PA / PC (06/17/2007) |  | RP (06/17/2007) | TO (06/17/2007) | TOP (06/17/2007) | TP (06/17/2007) | TSP (06/17/2007)
43 | NCR11123 | Sagebrush Power Partners LLC | WECC | United States |  |  | GO (10/28/2010) | GOP (10/28/2010)
44 | NCR05382 | Seattle City Light | WECC | United States | BA (06/17/2007) | DP (06/17/2007) | GO (06/17/2007) | GOP (06/17/2007) | PA / PC (06/17/2007) |  | RP (06/17/2007) | TO (06/17/2007) | TOP (06/17/2007) | TP (06/17/2007)
45 | NCR11685 | SOLV, Inc. | WECC | United States |  |  |  | GOP (12/12/2016)
46 | NCR10126 | Telocaset Wind Power Partners, LLC | WECC | United States |  |  | GO (11/05/2007) | GOP (11/05/2007)
47 | NCR05533 | TransAlta Centralia Generation, LLC | WECC | United States |  |  | GO (08/10/2007) | GOP (08/10/2007)
48 | NCR05436 | Umatilla Electric Cooperative Assoc. | WECC | United States | [7 empty] | TO (06/17/2007)
49 | NCR05441 | US Bureau of Reclamation | WECC | United States |  |  | GO (06/17/2007) | GOP (06/17/2007) |  |  |  | TO (06/17/2007)
50 | NCR05442 | US Department Of Energy Richland Operations Office | WECC | United States | [7 empty] | TO (06/17/2007)
51 | NCR05444 | US Navy, Naval Base Kitsap | WECC | United States | [7 empty] | TO (06/17/2007)
52 | NCR05538 | USACE - Portland District | WECC | United States |  |  | GO (08/10/2007) | GOP (08/10/2007)
53 | NCR05539 | USACE - Seattle District | WECC | United States |  |  | GO (08/10/2007) | GOP (08/10/2007)
54 | NCR05540 | USACE - Walla Walla District | WECC | United States |  |  | GO (08/10/2007) | GOP (08/10/2007)
55 | NCR11078 | Vantage Wind Energy LLC | WECC | United States |  |  | GO (08/06/2010) | GOP (08/06/2010)
56 | NCR11825 | Western Frequency Response Sharing Group | WECC | United States
57 | NCR10318 | Wheat Field Wind Power Project, LLC | WECC | United States |  |  | GO (04/10/2009) | GOP (04/10/2009)
58 | NCR05191 | Idaho Power Company | WECC | United States | BA (06/17/2007) | DP (06/17/2007) | GO (06/17/2007) | GOP (06/17/2007) | PA / PC (06/17/2007) |  | RP (06/17/2007) | TO (06/17/2007) | TOP (06/17/2007) | TP (06/17/2007) | TSP (06/17/2007)

## NERC_reg_summary
Category | Number | Entity in Diagram | Examples (Column A number) | Few of the names | Comments
Only BA | 1 | Other balancing authorities | 18 | Gridforce Energy Management LLC
Only GO | 1 | GENCO | 14 | Exelon Generation Co. LLC
Only GOP | 3 |  | 10, 21, 45 |  | Who are owing these generation assets?
GO + GOP | 21 |  | 1, 4, 6, 8, 11, 12, 15, 17, 19, 22, 23, 24, 29, 43, 46, 47, 52, 53, 54, 55, 57
Only TO | 5 | Other transmission owners | 27, 39, 48, 50, 51 |  | Will probably use TOP and TSP services of BPA or other transmission companies
T + BA | 1 | BPA | 3 | Bonneville Power Administration
Only DP | 2 | Distribution Service Provider | 5, 34 | City of McMinnville, Public Utility District No. 1 of Benton County
G + TO | 2 | G & T | 33, 49 | Public Utility District #1 of Lewis County, US Bureau of Reclamation | Will probably use BPA's or other's TOP and TSP services
G + TO + DP | 1 | G, T & D | 31 | Pend Oreille County Public Utility District No. 1 | Will probably use BPA's or other's TOP and TSP services
G + TO + TOP + DP | 3 |  | 13, 36, 38 |  | Will probably use TSP service of BPA, or do they use their transmission systems for their own energy delivery?
GO + TO + DP | 1 |  | 9 | Cowlitz County PUD No. 1 | Will probably use BPA's or other's TOP and TSP services. But operates these generation assets?
D + TO (May or may not include TP) | 4 | T & D | 16, 20, 25, 37 |  | Will probably use BPA's or other's TOP and TSP services
Vertically integrated (may or may not include TSP) | 9 | Vertically integrated companies | 2, 7, 28, 32, 35, 40, 41, 42, 44
None | 3 |  | 26, 30, 56
Total number | 57

## Info
Northwest Grid Architecture
Details regarding blocks
Sl. No. | Displayed Text | Descriptions | Functions | Examples
1 | Federal Regulator | Independent agency that regulates the interstate transmission of electricity | Regulates the transmission and wholesale sales of electricity in interstate commerce; Licenses and inspects private, municipal, and state hydroelectric projects; Protects the reliability of the high voltage interstate transmission system through mandatory reliability standards; Monitors and investigates energy markets | FERC
2 | State Regulators | Regulates private, investor-owned electric in states | Ensure regulated companies provide safe and reliable service to customers at reasonable rates, while allowing them the opportunity to earn a fair profit. | Washington Utilities and Transportation Commission, Public Utility Commission of Oregon, Idaho Public Utilities Commission, Montana Public Service Commission Energy, Wyoming Public Service Commission, Utah Public Service Commission, Public Utilities Commission of Nevada, California Energy Commission
3 | Federal Power Marketing Agency | Operate electric systems and sell the electrical output of federally owned and operated hydroelectric dams in 33 states | Market wholesale power, and it usually plays a role in transmission and electric power systems as well. | BPA, Western Area Power Administration (WAPA)
4 | Reliability Coordinators (RC) | Reliability Coordinators must have the authority, plans, and agreements in place to immediately direct reliability entities within their Reliability Coordinator Areas to re-dispatch generation, reconfigure transmission, or reduce load to mitigate critical conditions to return the system to a reliable state. | The Peak Reliability RC is staffed to increase the vision, awareness, and effectiveness of BAs. The Reliability Coordinator shall comply with a regional reliability plan approved by the NERC Operating Committee. Under the Pacific Northwest Coordination Agreement, entities within the NWPP have the obligation to coordinate the operations and long-term planning for the northwest Hydro system, which is monitored by WECC. | Peak Reliability
5 | Balancing Area Authorities | Generally comprised of large and small transmission owners. | Matches loads to resources within the system, maintains scheduled interchange between control areas, maintains frequency within reasonable limits, and provides sufficient generation capacity to maintain operating reserves. Load and resource data submitted by the BA to WECC is used to identify areas that have the potential for electricity supply shortages. | BPA-Transmission, PSE, PUD No. 1 of Douglas County, PUD No. 1 of Chelan County, PUD No. 1 of Grant County, Avista Corporation, Seattle City Light, City of Tacoma Department of Public Utilities, PGE, Gridforce Energy Management, IPC, NorthWestern Energy, NaturEner Wind Watch, NaturEner Power Watch, PacifiCorp West, PacifiCorp East, WAPA Upper Great Plains West, WAPA Colorado-Missouri region, Nevada Power Company
6 | NWPPC | Voluntary organization comprised of major generating utilities serving the Northwestern U.S., British Columbia and Alberta. Smaller, principally non-generating utilities in the region participate indirectly through the member system. NWPP activities are largely determined by major committees – the Operating Committee, the PNCA Coordinating Group, the Reserve Sharing Group Committee, and the Transmission Planning Committee. Link to report: https://www.nwcouncil.org/reports/96-26/ | Collective reliability planning and operation, with oversight, leadership, and regulation developed by the following entities- Operating Committee, Transmission Planning Committee, Pacific Northwest Coordination Agreement, Reserve Sharing Group Committee. Performs collective or independent reporting. | Members: Avista, BPA, Chelan PUD, Cowlitz PUD, Douglas PUD, Grant PUD, Gridforce Energy Management, IPC, NaturEner, NorthWestern Energy, NVEnergy, PacifiCorp, Pend Oreille PUD, PGE, PSE, Seattle City Light, Snohomish County PUD, Tacoma Power, WAPA, and more
7 | Federal Hydro Generators | Dams are operated by the U.S. Army Corps of Engineers and the Bureau of Reclamation |  | Columbia River Power System (FCRPS) Hydro projects
8 | Public Hydro Generators |  |  | Energy Northwest operated public hydroelectric facilities (Packwood Lake Hydroelectric Project, Columbia Generating Station, Nine Canyons Wind Project, White Bluffs Solar Station) in WA state
9 | Investor Owned Utilities | Owned by shareholders or investors; Typically owns own generation facilities, and has contracts to purchase power from market suppliers; Rates are approved by state utility commissions to recover costs and earn a reasonable return or profit for investors |  | Avista, PacifiCorp, Puget Sound Energy (PSE)
10 | Energy Northwest | Joint action agency formed by the WA state legislature in 1957. Consortium of 27 PUDs and municipalities across Washington help utilities run their operations more efficiently and at lower cost, to the benefit of more than 1.5 million customers. |  | Operates: White Bluffs Solar Station, Packwood Lake Hydroelectric Project, Nine Canyon Wind Project and Columbia Generating Station (nuclear)
11 | Public Utilities | Owned by a government body or customers/members of the utility; Typically purchases power, and sometimes operates own generation facilities; Rates are set to recover costs and earn additional return to maintain bond ratings and invest in new facilities |  | Public Utility Districts (PUDs), Rural Electric Cooperative (REA or Co-op), Municipality
12 | C&I Customers |  |  | iCNU and its members (e.g. Intel, Microsoft Corporation etc.)
13 | BPA Transmission Services | Operates and maintains about three-fourths of the high-voltage transmission in its service territory
14 | BPA Power Marketing Agency | Markets wholesale electrical power from 31 federal hydroelectric projects, one nonfederal nuclear plant and several small nonfederal power plants.
15 | GENCO | Generation company is a regulated or non-regulated entity (depending upon the industry structure) that operates and maintains existing generating plants. The Genco may own the generation plants or interact with the short term market on behalf of plant owners. In the context of restructuring the market for electricity, Genco is sometimes used to describe a specialized "marketer" for the generating plants formerly owned by a vertically-integrated utility.
| TRANSCO (TO + TOP) | An independent company which owns and/or maintains energy transmission facilities. A TRANSCO's duties would likely include construction and maintenance of energy corridors and transmission towers, coordination of transmission to wholesale customers (industries, utilities, co-ops, etc.), management of the energy grid in the regions in which they operate, and perhaps significant involvement in the wholesale energy market. At this time, many of a TRANSCO's eventual functions are performed by an entity known as an independent system operator.
| G&T | Generation & Transmission cooperatives (G&Ts) provide wholesale power to distribution co‑ops through their own generation or by purchasing power on behalf of the distribution members.

## GTD_separate
Northwest Grid Architecture
COLORS | LAYERS | Federal Legislature
| Reliability Coordination |  | State Legislature
| Market Interaction | 1> directs 1> |  | Federal Regulators
| Retail |  | 1> directs 1> |  | State Regulators
| Federal Regulation |  |  | 1> oversight on compliance 1> |  | Peak RC | [5 empty] | 1< enforces compliance 1<
| State Regulation |  |  | 1> regulates 1> |  |  | BPA Power Marketing Administration | [21 empty] | 0m< is a type of 1< |  | 1< sets priorities & constraints 1<
| Energy and Services |  |  | 1> regulates 1> |  | 1> coordinates reliability 1> |  | BPA Balancing Authority (BA) |  | 1< sets priorites & recommends 1< |  | 1< enforces compliance 1< | [5 empty] | 1< coordinate power flow <1m | [12 empty] | 1< sets priorities & constraints 1<
| Control and Coordination | [7 empty] | BPA Transmission (TO, TOP, TSP, TP) |  |  |  | 0m< transfers generated bulk power 1< | 0m< transfers generated bulk power 1< | 0m< transfers generated bulk power 1< | 1< transfers generated bulk power 1< | 1m< interchange power 1<
|  | 1> created 1> | [7 empty] | NPCC
<1> | Only 1 |  |  | 1> directs 1> | [6 empty] | NERC
<01> | Zero or 1 | [9 empty] | 1> delegates compliance monitoring and enforcement 1> | WECC
<0m> | Zero or more |  |  | 1> regulates 1m> |  | 1> coordinates reliability 1m> | 1> markets power from 1m> | 1> dispatch, control, generation 1m> |  |  |  | 1> enforces compliance 1m> | Federal Dams & Hydro Generators | [16 empty] | 0m< power trading 0m<
<1m> | One or more |  |  |  |  | 1> coordinates reliability 1m> |  | 1> dispatch, control, generation 1m> | [5 empty] | Public Hydro Generators |  |  |  | 1< dispatch, control, generation 0m< | [11 empty] | 0m< power trading 0m<
Italics | Dashed line in Visio document |  |  |  |  | 1> coordinates reliability 1m> |  | 1> dispatch, control, generation 1m> |  |  |  | 1> enforces compliance 1m> |  |  | Merchant IPPs |  |  | 1< dispatch, control, generation 0m< | [11 empty] | 0m< power trading 0m<
[6 empty] | 1> coordinates reliability 1> | 1> markets power from 1> | 1> dispatch, control, generation 1m> |  |  |  | 1> enforces compliance 1> |  |  |  | Energy Northwest | [13 empty] | 0m< power trading 0m<
|  |  |  | 1> oversight on compliance 1m> |  | 1> coordinates reliability 1m> |  |  | 1> interchange power 1m> |  |  | 1> enforces compliance 1m> | 0m> transfers generated bulk power 1> | 0m> transfers generated bulk power 1> | 0m> transfers generated bulk power 1> | 1> transfers generated bulk power 1> | Other Transmission Providers
|  |  |  | 1> oversight on compliance 1m> |  | 1> coordinates reliability 1m> |  | 1> coordinate power flow 1m> |  |  |  | 1> enforces compliance 1m> | [5 empty] | Other Balancing Authorities | [8 empty] | 1< coordinate transfers with EIM entity BAs 1m<
[6 empty] | 1> coordinates reliability 1m> |  | 1> dispatch, control 1m> | 1> deliver bulk power to 1m> | 1> sets priorities & recommends 1m> |  | 1> enforces compliance 1m> |  | 0m> sells power to 0m> | 1m> sells power to 0m> |  | 1> deliver bulk power to 1m> |  | Distribution Service Provider | [6 empty] | 0m< buy/sell retail electricity 1< | 1< buy/sell EIM incremental power 1m< |  | 1< power trading 0m<
[5 empty] | 1> regulates 1m> |  |  | 1> sells firm & secondary nonfirm power to 1m> | [11 empty] | Investor Owned Utilities | [5 empty] | 0m< regulates 1m<
[21 empty] | PUDs, Muncipals, Cooperatives | 1< sets targets & reviews preformance 1m<
|  |  | 1m> sets policies and objectives 1> | [18 empty] | Utility Governance
[7 empty] | 1> sell industrial firm & secondary nonfirm power to 0m> | 1> dispatch DER/DR 0m> | 1> transport bulk power to 0m> | [7 empty] | 0m> transport bulk power to 0m> | 1> dispatch DER/DR 0m> |  |  |  |  | Direct Service Industries
[19 empty] | 1> sell retail electricity 0m> 1> dispatch DER/DR 0m> 1> distribute retail power to 0m> |  |  |  |  | C&I Customers |  | 01< sell retail electricity to 0m< 01< relay dispatch DER/DR 0m<
[19 empty] | 1> sell retail electricity 1m> 1> dispatch DER/DR 1m> 1> distribute retail power to 1m> | [5 empty] | Residential Customers | 0m< sell retail electricity 1m< 01< relay dispatch DER/DR 1m<
[19 empty] | 1> dispatch DER/DR 0m> | [6 empty] | Aggregators
|  |  |  | 1> regulates 1> |  |  |  |  | 1> coordinate operations 1> |  |  |  |  | 0m> sell EIM incremental power 1> | 0m> sell EIM increment al power 1> |  | 1m> coordinate operations 1> | [9 empty] | Energy Imbalance Market | 1< operates 1<
|  |  |  | 1> regulates 1> | [23 empty] | CAISO
[19 empty] | 0m> power trading 1> | [9 empty] | Power Marketers | 1< wholesale power trading 0m<
[13 empty] | 0m> power trading 0m> | 0m> power trading 0m> | 0m> power trading 0m> | 0m> power trading 0m> | [12 empty] | 0m> wholesale power trading 1> | Exchanges
Federal Columbia River Power System

## GTD_integrations
Northwest Grid Architecture - Kimberly to update
COLORS | LAYERS | Federal Legislature
| Reliability Coordination |  | State Legislature
| Market Interaction | 1> directs 1> |  | Federal Regulators
| Retail |  | 1> directs 1> |  | State Regulators
| Federal Regulation |  |  | 1> oversight on compliance 1> |  | Peak RC | [7 empty] | 1< enforces compliance 1<
| State Regulation | [5 empty] | BPA Power Marketing Administration | [22 empty] | 1< priorities and constraints 1<
| Energy and Services |  |  | 1> regulates 1> |  |  |  | BPA Balancing Authority |  |  |  | 1< sets priorities & recommends 1< |  | 1< enforces compliance 1< | [6 empty] | 1m< coordinate power flow between BA 1< | [8 empty] | 1< priorities and constraints 1<
| Control and Coordination | [7 empty] | BPA Transmission Owner
[9 empty] | 1> deploys resources 1> | BPA Transmission Operator | 1< coordinate transfer capability 1 1< | [5 empty] | 0m< provides bulk power 1< | 0m< provides bulk power 1< |  | 0m< provides bulk power 1< 0m< TOPs interchange power 1< | 0m< TOPs interchange power 1<
<1> | Only 1 | [9 empty] | BPA Transmission Service Provider
<01> | Zero or 1 | 1> created 1> | [9 empty] | NPCC
<0m> | Zero or more |  |  | 1> directs 1> | [8 empty] | NERC
<1m> | One or more | [11 empty] | 1> delegates compliance monitoring and enforcement 1> | WECC
Italics | Dashed line in Visio document |  |  | 1> oversight on compliance 1m> | [5 empty] | 1> deploys TO resources 0m> |  |  |  | 1> enforces compliance 1m> | Other Transmission Owners
[6 empty] | 1> coordinates reliability 1m> |  |  |  | 1> transmits bulk power to 0m> |  |  |  | 1> enforces compliance 1m> |  | Distribution Companies
|  |  |  | 1> regulates federal dams and generators 1m> |  | 1> coordinates reliability 1m> | 1> markets power from hydro generators to 0m> | 1> dispatch, control & balance 1m> | [5 empty] | 1> enforces compliance 1m> |  | 1m> dispatch, control & balance 1m> | GENCO
[6 empty] | 1> coordinates reliability 1m> | 1> markets power from hydro generators to 0m> | 1> dispatch, control & balance 1m> |  | 1> deploys TO resources 0m> | 1> coordinate capability & limitss 1m> |  |  | 1> enforces compliance 1m> |  | 1m> dispatch, control & balance 1m> |  | G&T
[6 empty] | 1> coordinates reliability 1m> |  | 1> dispatch, control & balance 1m> |  | 1> deploys TO resources 0m> |  |  |  | 1> enforces compliance 1m> |  | 1m> dispatch, control & balance 1m> |  |  | T&D
[6 empty] | 1> coordinates reliability 1m> | 1> markets power from hydro generators to 0m> | 1> dispatch, control & balance 1m> |  | 1> TOPs interchange power 0m> | 1> coordinate capability & limits 0m> |  |  | 1> enforces compliance 1m> |  | 1m> dispatch, control & balance 1m> |  |  |  | G,T & D
[5 empty] | 1> regulates IoU 1m> | 1> coordinates reliability 1m> | 1> markets power from hydro generators to 0m> | 1> coordinate power flow between BA 1m> |  | 1> TOPs interchange power 0m> | 1> coordinate capability & limits 1m> |  |  | 1> enforces compliance 1m> | [6 empty] | Fully Vertically Integrated |  |  |  |  | 1< buy/sell EIM incremental power 0m< | 1< coordinate power transfer with EIM entity BA 0m<
[7 empty] | 1> sell industrial firm & secondary nonfirm power to 0m> | 1> dispatch DER/DR 0m> |  | 1> transport bulk power to 0m> | [11 empty] | Direct Service Industries
[16 empty] | 1> dispatch DER/DR 0m> 1> distribute retail power to 0m> 1> buy/sell retail electricity 0m> |  |  | 1> dispatch DER/DR 0m> 1> distribute retail power to 0m> 1> sell retail electricity 0m> | 1> dispatch DER/DR 0m> 1> distribute retail power to 0m> 1> sell retail electricity 0m> |  |  | C&I Customers |  | 1< dispatch DER/DR 0m< 1< sell retail electricity 0m<
[16 empty] | 1> dispatch DER/DR 1m> 1> distribute retail power to 1m> 1> buy/sell retail electricity 1m> |  |  | 1> dispatch DER/DR 1m> 1> distribute retail power to 1m> 1> sell retail electricity 1m> | 1> dispatch DER/DR 1m> 1> distribute retail power to 1m> 1> sell retail electricity 1m> |  |  |  | Residential Customers | 1< dispatch DER/DR 0m< 1< sell retail electricity 0m<
[5 empty] | 1> regulates 0m> | [10 empty] | 1> dispatch DER/DR 0m> 1> sell retail electricity 0m> |  |  | 1> sell retail electricity 0m> | 1> dispatch DER/DR/ 0m> 1> sell retail electricity 0m> |  |  |  |  | Aggregators
|  |  |  | 1> regulates 1> | [16 empty] | 0m> coordinate transfers 1> 0m> buy/sell EIM incrememtnal power 1> |  |  |  |  | Energy Imbalance Market | 1< operates 1<
|  |  |  | 1> regulates 1> | [22 empty] | CAISO
[7 empty] | 1> is a type of 0m> | [8 empty] | 0m> power trading 0m> |  |  | 0m> power trading 0m> | 0m> power trading 0m> | [7 empty] | Power Marketers
[28 empty] | 0m> power trading 1> | Exchanges
Federal Columbia River Power System
1 | IoU regulated by state regulators
2 | BPA sells firm and secondary nonfirm power to DSP

## Questions
Questions
1 | Who is the Interchange coordinator of this region?
2 | "Ratepayers in California and other states may also pay portions of BPA's costs, particularly in wet years, because BPA sells power that is surplus to Northwest needs to utilities outside the region. "(reference: https://www.bpa.gov/Finance/RateCases/RateCaseBackground/Pages/BPAsCosts.aspx) - How can this be represented in the diagram?
3 | EIM entity scheduling coordinator
4
5
6
7
8
9
10
11

## Original_list
Northwest Grid Architecture - Blocks
Sl. No. | Original List (upto v0.1)
1 | Federal Regulator
2 | Reliability Coordinators
3 | Balancing Area Authorities
4 | Direct Use Industrial Customers
5 | NWPPC
6 | Investor Owned Utilities
7 | BPA Transmission Operator
8 | Federal Hydro Generators
9 | Public Hydro Generators
10 | Wholesale Markets
11 | C&I Customers
12 | Residential Customers
13 | Merchant Generators (IPPs)
14 | Other Transmission Operators
15 | Demand Response Aggregators
16 | Arbitrage Aggregators
17 | Public Utility Governance
18 | State Regulators
19 | Federal Power Marketing Agency
20 | Federal Legislator
21 | State Legislature
22 | Public Utilities
23 | Energy Imbalance Market
24 | Pumped Hydro
25 | Neighboring RTO/TSO
26 | Local Utility Resources
27 | DER Aggregators