## Slide 1: The future grid
Engineering Dreams

## Slide 2
Do we need a new grid?

## Slide 3: NO
The grid is an amazing achievement and it works exceptionally well
It is recognized as the greatest engineering achievement of the 20th century by the National Academy of Engineering
We could sustain reliable and cost effective delivery of electricity through basic maintenance and extension using conventional technology

## Slide 4: But … that’s not the way engineers do things
From the first – engineers and utilities have asked – how can we do it better?
Every component and every procedure has been relentlessly refined, relentlessly polished.
Engineers Dream

## Slide 5: Past, Present, and Future
1883 first deployed transformer
The future? solid state transformer,
Dynamic voltage control at the edge.
Current distribution transformer

## Slide 6: The grid “evolves” in small steps
“The mother of every chicken is a chicken, the daughter of every chicken is chicken” Richard Dawkins
--the grid looks the same, day to day, but over time it is essentially reinvented
This is true because:
  The grid is immensely complex – vastly beyond “simple” things like the Apollo program.
  Different portions of the grid are independently configured and control led – there is no “Deus ex machina”.

## Slide 7
Will the future grid be smart?

## Slide 8: YES, the grid will be smart
Smart is the alternative to big.
When the grid was first built, it was all about expansion – more power, delivered ubiquitously
When you reach a limit, you built MORE
Why we still focus on more, but the first thought now is getting more from what we have.

## Slide 9: Engineering Dreams (with respect to Henry Petroski)
Wood
Stone
Concrete
Iron
Steel
Fiber
Evert new tool or materials allows and encourages an engineer to rethink every aspect of a problem – Solid state technology is the new tool that is allowing engineers to ‘dream’ the smart grid.

## Slide 10: And Shockley said “let there be transistors”
The rate of the improvement in grid components was slowing in the 1980s. --
Electricity prices were low and stable
Reliability was very high
“Everything had been invented”
Then – solid state electronics entered the power industry
metering
communications
control
power electronics
And it was time to reconsider / reinvent everything
(731 million)

## Slide 11: Living in the Interesting Time
Transition
Control Through Angular Momentum
Analytically Driven Control
1883 1990
2025?
o o o
Lack of overall model
Changing Technology
Complicated Transition
Reliability through
overbuilding
Knowledge of state
Precise control
High performance analytics

## Slide 12: The smart grid encompasses many ideas and many technologies
Smart meters
Batteries
Fuel Cells
Meter data management
SCADA
Dynamic line rating
Solid state power electronic
Direct Load Control
MDM
Wind generation
PV
Dispatchable backup generators
Flywheels
Advanced Volt/VAR
Synchrophasors
Compressed Air Storage
Smart Appliances
Home Automation Networks
Load Control Aggregators
Advanced Analytics
MicroGrids
Micro Forecasting
Advanced Financial Instruments
GOK

## Slide 13: But the smart grid is not one technology
Smart meters
Batteries
Fuel Cells
Meter data management
SCADA
Dynamic line rating
Solid state power electronic
Direct Load Control
MDM
Wind generation
PV
Dispatchable backup generators
Flywheels
Advanced Volt/VAR
Synchrophasors
Compressed Air Storage
Smart Appliances
Home Automation Networks
Load Control Aggregators
Advanced Analytics
MicroGrids
Micro Forecasting
Advanced Financial Instruments
GOK
Not the smart grid

## Slide 14: The smart grid is not a collection of technologies
Smart meters
Batteries
Fuel Cells
Meter data management
SCADA
Dynamic line rating
Solid state power electronic
Direct Load Control
MDM
Wind generation
PV
Dispatchable backup generators
Flywheels
Advanced Volt/VAR
Synchrophasors
Compressed Air Storage
Smart Appliances
Home Automation Networks
Load Control AggregatorsV
Advanced Analytics
MicroGrids
Micro Forecasting
Advanced Financial Instruments
GOK
Not the smart grid!

## Slide 15: The smart grid IS the “smart” application of diverse and improving technologies to improve grid design and operation
Smart meters
Batteries
Fuel Cells
Meter data management
SCADA
Dynamic line rating
Direct Load Control
MDM
Wind generation
PV
Dispatchable backup generators
Flywheels
Advanced Volt/VAR
Synchrophsors
Smart Appliances
Home Automation Networks
Load Control Aggregators
Advanced Analytics
MicroGrids
Micro Forecasting
Advanced Financial Instruments
GOK
SMART
CONTROL
ADVANCED STATE
ESTIMATION
ADVANCED FORECASTING
ADVANCED ANALYTICS
Smart grid technology enable better
knowledge of state and more immediate
And more precise control

## Slide 16
RED
Substation
BLUE
Substation

## Slide 17
RED
Substation
BLUE
Substation

## Slide 18
RED
Substation
BLUE
Substation

## Slide 19
RED
Substation
BLUE
Substation

## Slide 20: But what if simple back feeding is not enough?
Apply all “smart grid technologies” in a coordinated way
  Smart feeder switching
  Advanced sectionalization
  Rolling disconnects (down to meter level)
  Dispatchable backup generators
  Distributed energy
  Advanced Volt/VAR control
  Storage
  …….
Resiliency from
Advanced Sensor Technology
Advanced
Forecasting
Advanced
Analytics
+
+
Advanced
Control
+

## Slide 21
That’s how the agile grid can work on a feeder. How would it look at a system level

## Slide 22
On a nice day, the utility is running smoothly.
Everything is “Hot”

## Slide 24
A bad storm comes through and some areas lose power

## Slide 26
But backup power, distributed generation, and stored energy allow some areas to island and continue operation…

## Slide 28
Smart control systems allow the islands to network

## Slide 30
This may allow some power to be restored in additional areas as the utility works to bring dark areas on line

## Slide 32
Soon, everyone has power

## Slide 34
The smaller grids reconnect with the utility

## Slide 36
OK, it is an interesting concept, but how does it work?

## Slide 37
Next Generation Grid
Distributed Generation
Advanced
Communications
Advanced Analytics
Advanced Architecture (Fractal)
Big Data
Agile Control
Cyber Security
FOUNDATIONS

## Slide 38
Next Generation Grid
Distributed Generation
Advanced
Communications
Advanced Analytics
Advanced Architecture (Fractal)
Big Data
Agile Control
Cyber Security
FOUNDATIONS

## Slide 41
Source: NREL, 2010

## Slide 42
DIY Always Wins
Driving a car
Writing a report
Booking a flight

## Slide 43
150,000,000 results

## Slide 44
Nellis Air Force Base Solar
DOD Goal: 25X25 – 25% renewable by 2025
U.S. Army committing $7 billion

## Slide 46
Next Generation Grid
Distributed Generation
Advanced
Communications
Advanced Analytics
Advanced Architecture (Fractal)
Big Data
Agile Control
Cyber Security
FOUNDATIONS

## Slide 47: Smart Appliances
Center of Control?
Estimates of 45 Million Smart Appliances by 2020
Navigant Sept 2012

## Slide 49
Next Generation Grid
Distributed Generation
Advanced
Communications
Advanced Analytics
Advanced Architecture (Fractal)
Big Data
Agile Control
Cyber Security
FOUNDATIONS

## Slide 50
Speed
Reliability
Area Served
Security
Latency
Needed for industrial
operation, but not addressed by general internet providers
Well addressed
By general internet providers
Substantial responsibility left to users

## Slide 51: Key Organizations for the Trustworthy Internet
Internet 2
Internet of Things
Industrial Internet

## Slide 52: Internet 2

## Slide 53: Taxonomy of Communications

## Slide 54: Building on the Taxonomy
Communications
Taxonomy
Taxonomy of Applications
Communications
Requirements
Clustering of
Applications
Grid State
Design

## Slide 55
Next Generation Grid
Distributed Generation
Advanced
Communications
Advanced Analytics
Advanced Architecture (Fractal)
Big Data
Agile Control
Cyber Security
FOUNDATIONS

## Slide 56: What is non-prescriptive cyber security and why do we need it?
Prescriptive cyber security requires the user to identify the characteristics of suspicious communications
Non-prescriptive is the opposite
Prescriptive Security requires:
  Knowing the threat
  Knowing the system being protected
  Having updates developed diligently
  Knowledgeable users
  Maintaining systems continuously
There have been failures in all of the above

## Slide 57: Abstraction Model
Data
Information
Analysis
Decision
Action

## Slide 58
Action
Decision
Database
Host-based software defined network
Analysis
Network Discovery
Data Collection
Passive add-on
Dedicated in-line device
Chip level
Hardware in device
Software
Predefined decision trees
Comprehensive time series
Derived views
Anomaly detection based using machine learning
Prescriptive checks
Contingency modeling
Power flow analysis
Server-based software define networks

## Slide 59: Focus of the Project in the OSI Stack
Data and Information Layers will address 3/4
Initial Focus

## Slide 60: We are building three systems
The System
The system to test the system
The system to maintain the system
Includes the development environment
Updates
Deployment management
Centralized
Cloud

## Slide 61: Full Packet Capture
Data collection to support development
Completely passive
NetOptics TP-CU3 (copper)
Stealth LPC-100G4
Can also support fiber
Open source software
Notes: First picture is just for scale, but not the actual model we are using.
Second picture is the actual model.
This is still a prototype. Has not been deployed or stress tested yet.

## Slide 62: Automated Network Mapping
Tcpdump for configurable full packet capture
Bro IDS to characterize network traffic
  Bro-cut to create CSV data
  Afterglow to create graphviz files from CSV data
  Neato to draw graphs of observed network
Notes: Graph shown does not contain IP addresses or port numbers. (Real graphs have these, and look similar to what is shown here.)

## Slide 63
Next Generation Grid
Distributed Generation
Advanced
Communications
Advanced Analytics
Advanced Architecture (Fractal)
Big Data
Agile Control
Cyber Security
FOUNDATIONS

## Slide 64: The Fear
EPRI: 10^4 more data
IBM: 10^5 more data
Surprise!! Didn’t Happen, but:

## Slide 65: Issues
Transportation bottleneck
Reporting by exception
99.998% redundant information
Building for the “Interesting Day”

## Slide 66: The solution to the data issue must be rooted in architecture
Next Generation Grid
Distributed Generation
Advanced
Communications
Advanced Analytics
Advanced Architecture (Fractal)
Big Data
Agile Control
Cyber Security

## Slide 67: All grid applications have the same basic structure
Collect Data
Transform and Organize Data
Perform Analysis
Derive Decision
Implement Action
Collect Data
Transform and Organize Data
Perform Analysis
Derive Decision
Implement Action

## Slide 68: Abstraction Model
Data
Information
Analysis
Decision
Action

## Slide 75
TS
R
Time series
Relational
TS
TS
TS
TS
Electrical
Devices
Servers
Dedicated
Capture
Devices
Electrical
Devices
SPAN
Ports
Dedicated
Capture
Devices
Electrical
Devices
Servers
Dedicated
Capture
Devices
Dedicated
Capture
Devices
Dedicated
Capture
Devices
Dedicated
Capture
Devices
Electrical
Devices
Electrical
Devices
Electrical
Devices
Servers
Servers
Servers
R
Electrical
Devices
Servers
Dedicated
Capture
Devices
TS
R
TS
TS
TS
R
TS
Application
Application
R
R
TS
Application
Application
Cluster
Application
Cluster
Application
Cluster

## Slide 76: Criteria for Application Clustering
Share the same set of data
Volume of data
Time period for which data are required
Latency
Who are the users
  Utility
  Consumers
  Authorized analyts
  Researchers

## Slide 77
Computers
Enterprise Buses
Computing Fabric

## Slide 78
Next Generation Grid
Distributed Generation
Advanced
Communications
Advanced Analytics
Advanced Architecture (Fractal)
Big Data
Agile Control
Cyber Security
FOUNDATIONS

## Slide 79: Analytics are central
Transition
Control Through Angular Momentum
Analytically Driven Control
1883 1990
2025?
o o o
Smart meters
Batteries
Fuel Cells
Meter data management
SCADA
Dynamic line rating
Direct Load Control
MDM
Wind generation
PV
Dispatchable backup generators
Flywheels
Advanced Volt/VAR
Synchrophsors
Smart Appliances
Home Automation Networks
Load Control Aggregators
Advanced Analytics
MicroGrids
Micro Forecasting
Advanced Financial Instruments
GOK
SMART
CONTROL
ADVANCED STATE
ESTIMATION
ADVANCED FORECASTING
ADVANCED ANALYTICS

## Slide 80: The Analytics Process
Formulate
Test in Lab
Improve
Usability
Deploy
Drivers
Need – driven by agile grid
Better computers / dollar
Cloud
Modelers are getting smarter
Foundational tools (e.g. GridLab-D)

## Slide 81: Keys to analytics
Shared, consistent data
Open development
Death to silos
Focus first on real problems
  Distributed generation
  CVR
Big Computing
Cloud

## Slide 82: Keys to analytics
Shared, consistent data – Grid State
Open development -- OMF
Death to silos -- OMF
Focus first on real problems
  Distributed generation – SUNDA, using OMF
  CVR – Hutchisonusing OMF
  Resilience – Sandia, QERusing OMF
Big Computing – Intel, GE, Smart America Challenge
Cloud – Intel, GE, Smart American

## Slide 83: Open Modeling Framework
Source
Data
Module
Reference
Input
Module
Technology
Modules
Reference
Output
Module
Grid
Modules
Monetization
& Visualization
Module

## Slide 85
Bandwidth
Storage Speed
Memory Capacity
Processor Speed
Storage Capacity

## Slide 86
Next Generation Grid
Distributed Generation
Advanced
Communications
Advanced Analytics
Advanced Architecture
Big Data
Agile Control
Cyber Security
FOUNDATIONS
THE
FRACTAL
GRID

## Slide 87: A grid of grids

## Slide 89: A grid of grids

## Slide 91
A supermarket or a grid?

## Slide 92
An office building or a grid?

## Slide 93
A home or a grid?

## Slide 94: What defines a grid?
Power
Control

## Slide 95: Principles of the Fractal Grid
All segments of the grid operate with the same information and control model – regardless of scale
Every segment of the grid has a decision making capability
The means for exchange of peer-to-peer information are clearly defined in standards
The rules for when to divide and when to combine are clearly defined

## Slide 96: How the resilient grid would work
Sub Grid 1
Sub Grid 2
State
Intact Grid
Intact Grid
A segment of the grid is operating normally
An event or conditions cause it to bifurcate. Each
part operates independently
The independent parts exchange information
They “decide” it is time to recombine
Capability
Intent
Sub Grid 2
Sub Grid 1

## Slide 97: The CRN Program for Resilience
Next Generation Grid
Distributed Generation
Advanced
Communications
Advanced Analytics
Advanced Architecture (Fractal)
Big Data
Agile Control
Cyber Security
FOUNDATIONS

## Slide 98
Next Generation Grid
Distributed Generation
Advanced
Communications
Advanced Analytics
Advanced Architecture (Fractal)
Big Data
Agile Control
Cyber Security
CRN
Renewables and
Distributed
Generation
Program
CRN
Cyber
Security
Program
CRN
Next Generation
Networks
Program
CRN
Analytics
Program
CRN
Resiliency
Program
PROGRAMS

## Slide 99
Next Generation Grid
Distributed Generation
Advanced
Communications
Advanced Analytics
Advanced Architecture (Fractal)
Big Data
Agile Control
Cyber Security
CRN
Renewables and
Distributed
Generation
Program
CRN
Cyber
Security
Program
CRN
Next Generation
Networks
Program
CRN
Analytics
Program
PROGRAMS

## Slide 100
CRN
RESILIENCY
PROGRAM
Next Generation Grid
Distributed Generation
Advanced
Communications
Advanced Analytics
Advanced Architecture (Fractal)
Big Data
Agile Control
Cyber Security
Essence
Architecture
Grid
Analytics
Association
Essence Cyber
Security
Analytics
Cloud
Comprehensive
Grid State
Database
Data
Cloud
Standardized PV
Designs
National
Discounts
Program for PV
Communications
Taxonomy
Cyber Security
Guidance
and Template
MultiSpeak®
MultiSpeak® Cyber Security Extension
Cyber Security
Training
OMF
Guidance on Building and
Integrating Microgrids
PRODUCTS

## Slide 101
CRN
RESILIENCY
PROGRAM
Next Generation Grid
Distributed Generation
Advanced
Communications
Advanced Analytics
Advanced Architecture (Fractal)
Big Data
Agile Control
Cyber Security
Essence
Architecture
Grid
Analytics
Association
Essence Cyber
Security
Analytics
Cloud
Comprehensive
Grid State
Database
Data
Cloud
Essence Cyber Security Project
Smart America
Challenge
Chesser /
Cumulus
GAA
OMF
Hutchison
Robert
Larmouth
Paul
Carroll
David
Pinney
Craig
Miller
SGDG
Extension to Solar
Microgrid
Islanding Test
Microgrid
Best Practices
Craig
Miller (for now)
Substation of the future
Communications
Taxonomy
Maurice
Martin
PROJECTS

## Slide 102
Substation of the future
Communications
Taxonomy
CRN
RESILIENCY
PROGRAM
CRN Cyber
Security
Program
Distributed
Generat
Next Generation Grid
Distributed Generation
Advanced
Communications
Advanced Analytics
Advanced Architecture (Fractal)
Big Data
Agile Control
Cyber Security
Essence
Architecture
Grid
Analytics
Association
Essence Cyber
Security
Analytics
Cloud
Comprehensive
Grid State
Database
Data
Cloud
Essence Cyber Security Project
Smart America
Challenge
Chesser /
Cumulus
GAA
OMF
Humboldt
DOE / OE
Pacific Northwest National Labs
Honeywell
Cigital
Carnegie Mellon University
GE?
Benton REA
Platte Clay
Rappahannock
GE -
Security Fabric Alliance
Milsoft
Indra
Internet2
Industrial Internet Consortium -
Cast of Thousands
SGDG
PMF Extension to Solar
Intel
Intel -
Pedernales
Cyme
DOE / OE
DOE / OE
PNNL
ORNL
Members
Battelle, Milsoft, Stanford
Indra, CMU, GE
Microgrid
Islanding Test
Microgrid
Best Practices
Penn State University
GridStar
Philadelphia Navy Yard
Poudre Valley Owen
PARTNERS
ABB
Multiple Others