## Contact List
Role | Name | Official Title | Organization | E-mail Address | Phone Number
Your Manager
Facility Owner/Manager
Facility Energy/Water Manager
Authorized Electrician
IT Administrator
EMIS Administrator
Information System Security Officer
Occupational Safety and Health Rep
Site Point of Contact

## Questionnaire
Section | Question | Answer
1. Meter Location | What building/structure is the meter located in, on, or nearest to?
If the meter is located inside of a building, what room is it located in? Meters located in a building are usually found inside of a mechanical room.
Can you describe the specific location of the meter? Include details such as the orientation of the wall/post on which the meter is mounted, the electrical panel ID with which the meter is associated, whether the meter is in a separate enclosure or mounted within the panel itself, the approximate height of the meter, and helpful identifying visual details—include photos if available.
Are any special tools needed to access the meter? For example, keys, proximity access cards, or alphanumeric codes are typically required to access mechanical rooms and enclosures. If the meter is located high up in an electrical panel, a ladder may be required for safe access.
2. Travel Planning | How will you travel to the meter location?
If the meter is located at a remote site, does your organization require you to obtain pre-travel authorization? - Book any necessary flights, rental cars, and accommodations before you travel. - If you are flying, consider whether any travel restrictions apply to items on your checklist. For example, a screwdriver longer than seven inches must be checked; bear spray is not allowed. (See the Transportation Security Administration’s What Can I Bring? web page for additional information.)
If necessary, do you have a point of contact who will meet you at the travel destination?
Where will you obtain the tools to troubleshoot the meter? When reviewing the Tool Checklist, note whether you will obtain the tool from home, your office, or the meter location.
3. Authorization, Training, and Tools | If the meter is located in a mechanical room, do you have authorization and tools necessary to enter the room? If not, contact the responsible facility owner/manager.
Do you have the authorization, training, and tools necessary to open the meter enclosure? If not, contact an authorized electrician at the facility to assist you.
Do you have authorization, training, and tools necessary to open an electrical panel and perform electrical work? If not, contact an authorized electrician at the facility to assist you.
Do you have authorization, training, and tools necessary to open a server rack/cabinet and reconfigure network connections? If not, contact the responsible IT administrator at the facility to assist you.
Do you have access credentials to log into the meter and the EMIS front-end client software? If not, contact the EMIS administrator.
Have you received the necessary safety training to perform other tasks related to meter troubleshooting? (E.g., ladder safety training). If not, contact your facility/organization’s occupational safety and health representative.
4. Connectivity | Will you need to use a network-connected device while troubleshooting the meter? If so, will one or more of the following options be available? - Ethernet - Wi-Fi - Cellular connection - Satellite connection
Do you have authorization to take the network-connected device with you to the meter location? Personal devices may not be allowed in some spaces.
5. Personal Safety | Is any personal protective equipment (PPE) required at the meter location? E.g., safety boots for a boiler plant or warehouse; hard hat, safety glasses, high-visibility vest for a construction site.
What will the weather be like when you visit the meter location? Dress appropriately, particularly if the work must be conducted outdoors. Consider whether conditions may be icy, rainy, or hot.
Are there any animal dangers at the meter location? Review relevant safety precautions for potential interactions with insects and wild animals (e.g., mosquitoes, ticks, wasps, bears).

## Tool Checklist
Tool | Category | Required / Optional | Notes | Obtained (Y/N)
Bag/backpack | 1. General | Required
Clipboard/notepad | 1. General | Required
Pen | 1. General | Required
Screwdriver | 1. General | Required | Ideally, bring a multi-bit screwdriver to accommodate various screw types and sizes.
ID badge | 1. General | Required | Bring ID badge and any other necessary credentials.
Keys, proximity access cards | 1. General | Required
Flashlight/headlamp | 1. General | Optional | Bring if working outdoors during dark hours or if the mechanical room is poorly lit.
Tool belt/apron | 1. General | Optional
PPE | 2. Safety | Required | Personal protective equipment may include hard hats, safety glasses, ear protection, respirators, gloves, protective clothing, and safety boots. Check PPE requirements at the meter location.
Work gloves | 2. Safety | Required
Insect repellant | 2. Safety | Optional | I.e., bug spray.
Rain gear | 2. Safety | Optional
Sun hat | 2. Safety | Optional
Sunscreen | 2. Safety | Optional
Ladder/step ladder | 2. Safety | Optional | Required if meter is not accessible at ground height.
Camera | 3. Electronics | Required | Valuable for documenting images of the meter and its surroundings. Can be a separate device or the built-in camera on a cell phone.
Multimeter | 3. Electronics | Required | Ensure that multimeter battery has adequate charge.
Cables | 3. Electronics | Optional | Required if using a laptop or other device to connect to and perform diagnostic checks on the meter.
Cell phone | 3. Electronics | Optional
Laptop/diagnostic device | 4. Documentation | Optional | Required if connecting directly to the meter to perform diagnostic checks.
Network configuration documentation | 4. Documentation | Required | At a minimum, bring documentation of the meter address(es); e.g., Modbus device address, MAC address, IP address.
Passwords, alphanumeric access codes | 4. Documentation | Required
Contact list | 4. Documentation | Required | Remember to bring your list of contacts with phone numbers in case you need assistance.
Troubleshooting guide(s) | 4. Documentation | Required | Bring instructions to guide you through troubleshooting steps in the field.
Meter documentation | 4. Documentation | Optional | Optional but recommended for reference to interpret signals from the meter.
Standard operating procedure(s) | 4. Documentation | Optional | For reference if needed.

## Meter Inventory Data Template
Data Field | Value
Meter manufacturer
Meter model
Meter serial number
Date of meter manufacture
Date of meter installation
Firmware version
Meter device address(es) (e.g., MAC address, IP address, Modbus device address)
Meter communication protocol(s)
Connected communication port(s)
Meter location
Building
Room (if applicable)
Description
Electrical panel ID
Circuit ID
Phase and wiring configuration
Analog inputs
Controller ID (if applicable)
Controller device address(es) (if applicable)
Gateway IP address (if applicable and different from Controller)
Brief description of loads metered
Any information on physical labels affixed to the meter or enclosure
Photos/videos (or link to directory path):
Front entrance of building
Hallway(s)
Room entrance
Meter enclosure on wall/post (Include related items included such as electrical panel)
Meter in enclosure
Meter front, sides, back (if accessible)
Tools needed
Access permissions required to access facility and meter
Relevant points of contact
Facility
Meter location
Meter owner (if applicable)
Utility account number (if applicable)