## Read Me
Appendix G. Transmission Projects in Canada, Europe, and China Located Longitudinally in the Transportation Right-of-Way Authors: Vanessa Hamilton and Rebecca O'Neil, PNNL This Excel workbook is a downloadable, in-progress data resource providing a brief overview of selected international transmission projects identified by the study team. It includes a limited set of examples from Canada, Europe, and China that were readily accessible through preliminary research efforts. The intent is to present an overview of international activities located within transportation rights-of-way, rather than a comprehensive record of all known projects. Information was compiled through online sources and verified, where possible, using multiple references. The study team welcomes feedback, corrections, and additional information to improve the accuracy and completeness of this dataset. Disclaimer • The information in the table is provided for informational purposes only and is not guaranteed to be accurate, complete, current, or error-free. • The contents are subject to change as additional projects are added and status of projects is updated. • Ongoing research and data cleaning may also lead to updates. Data Filtering •The workbook includes filters to facilitate easy data exploration. This research is a part of the Electric Transmission in Transportation Rights-of-Way Gaps Analysis written by the U.S. Department of Transportation’s Volpe Center and the Pacific Northwest National Laboratory (PNNL) for the Joint Office of Energy and Transportation. The full report will be published late summer 2025. Questions or Feedback? PNNL Point of Contact: Rebecca O'Neil Email: rebecca.oneil@pnnl.gov | What was updated? | Date
| Initial version | 2025-10-10
O'Neil R.S., M. Baum, J. Yoshimura, G. Filosa, M.A. Cruz, V.A. Hamilton, and J.B. Kincaid. 2025. “Electric Transmission in Transportation Rights-of-Way: Gaps Analysis - Data Appendices.” PNNL-SA- 213383. Richland, WA: Pacific Northwest National Laboratory; Cambridge, MA: John A. Volpe National Transportation Systems Center.

## TxROW Project List
Transmission Projects in Canada, Europe, and China Located Longitudinally in the Transportation Right-of-Way Note: The following summary provides a limited set of examples of transmission projects located within transportation corridors across Canada, Europe, and China. The list is not exhaustive and may not capture all relevant or ongoing projects.
Project | Location | Type / Voltage | Construction Type of Transportation Right-of-Way Section | Transportation Right-of-Way | Project Status | Description | Sources
Savoie–Piémont Interconnector | Italy France | 320 kV HVDC | Underground | Motorway, including tunnels | Comissioned in 2023 | This project is the longest DC power line along a motorway in the world and it delivers 1,200 MW across boarders. The total length of the line is 190 km. | RTE. 2023. L’interconnexion électrique France-Italie (Savoie-Piémont) pleinement opérationnelle. August 4, 2023. Accessed September 5, 2025. https://www.rte-france.com/actualites/interconnexion-electrique-france-italie-savoie-piemont-pleinement-operationnelle. Terna S.p.A. n.d. Italy–France Electrical Interconnection. Accessed September 5, 2025. https://www.terna.it/en/projects/projects-common-interest/italy-france-electrical-interconnection. European Investment Bank. 2017. Italy–France Interconnector (Project No. 20140370). Signed July 4, 2017. Accessed September 5, 2025. https://www.eib.org/en/projects/all/20140370. GE Grid Solutions. France-Italy HVDC Link Case Study. GE, February 2018. https://www.gevernova.com/grid-solutions/sites/default/files/resources/products/applications/hvdc/france-italy-hvdc-link-casestudy-en-2018-02-grid-pea-1641.pdf .
ElecLink | UK France | 320 kV DC | Underground tunnel | Rail tunnel | Comissioned in 2022 | The ElecLink project runs through the Channel Tunnel and provides 1 GW of bi-directional capacity between the UK and France. The total cable length is 50km. | Getlink. “Eleclink – the 1 GW Electrical Interconnector via the Tunnel.” Getlink, 2025. Accessed October 10, 2025. https://www.getlinkgroup.com/en/our-group/eleclink/ . “ElecLink Interconnector.” NS Energy Business. Accessed October 10, 2025. https://www.nsenergybusiness.com/projects/eleclink-interconnector/
INELFE | Spain France | 320 kV HVDC | Underground | Motorway, rail | Comissioned 2015 | The INELFE project doubled electricity exchange capacity between Spain and France and follows both motorway and high-speed rail corridors. The total length is 65 km. | “Electrical Interconnection between Baixas – Santa Llogaia.” INELFE. Accessed September 8, 2025. https://www.inelfe.eu/en/projects/baixas-santa-llogaia. “Spain-France Underground Interconnection.” Redeia. Accessed September 8, 2025. https://www.redeia.com/en/activities/unique-projects/new-interconnection-with-france. European Investment Bank. “INELFE Interconnexion France - Espagne (Project No. 20100263).” EIB. Accessed October 10, 2025. https://www.eib.org/en/projects/all/20100263
London Power Tunnels | UK | 400 kV / 132 kV | Underground tunnels | Deep tunnels under roadways | Under construction, targeting 2027 | The London Power Tunnels project places transmission cables in deep tunnels beneath roadways to reduce surface disruption and allow for future expansion. The total length is 35 km. | “London Power Tunnels Project.” National Grid. Accessed September 8, 2025. https://www.nationalgrid.com/electricity-transmission/network-and-infrastructure/london-power-tunnels-project
Beaumont–Dorchester | Montreal, Canada | 315 kV | Underground | Roadways | Comissioned in 2019 | The Beaumont–Dorchester project upgraded an underground line to 315 kV, extending 6 km beneath major streets and under rail crossings. | Hydro-Québec. 2017. Beaumont–Dorchester Line Conversion to 315 kV. Project brochure. Document no. 2017E1217-A. Montréal: Hydro-Québec. https://www.hydroquebec.com/data/projets/ligne-beaumont-dorchester/pdf/2017E1217-A-beaumont-dorchester.pdf. Hydro-Québec. 2018. Beaumont–Dorchester Line Conversion Project: Information on Work (Atlantic Avenue–Bernard Avenue Sector). Montréal: Hydro-Québec. https://www.hydroquebec.com/data/projets/ligne-beaumont-dorchester/pdf/section-1-atlantic-bernard-info-travaux-BEA-DOR-29mars-en.pdf.
Beijing Utility Tunnel Network | Beijing, China | Not Specified | Underground utility tunnels | Roadways, rail | Initial phase completed by 2020; target 2035 for full construction. | Beijing has constructed approximately 150–200 km of multi-utility tunnels beneath roadways to house electricity, heating, gas, and communication lines as part of China’s national underground infrastructure program. | State Council Information Office of the People’s Republic of China (SCIO). 2017. “China to Build More Urban Utility Tunnels.” China SCIO. November 27, 2017. http://english.scio.gov.cn/chinavoices/2017-11/27/content_41948392.htm. Yicai Global. 2017. “Beijing to Complete Utility Tunnels Spanning 150 to 200 Kilometers by 2020.” Yicai Global, November 27, 2017. https://www.yicaiglobal.com/news/beijing-to-complete-utility-tunnels-spanning-150-to-200-kilometers-by-2020#:~:text=Beijing%20to%20Complete%20Utility%20Tunnels%20Spanning%20150%20to%20200%20kilometers%20by%202020&text=(Yicai%20Global)%20Nov.,tunnels%20span%20around%20450%20kilometers.
Shenzhen Utility Tunnel (Phase IV) | Shenzhen, China | High voltage AC cable | Underground utility tunnels | Along subway corridors | Under construction | The Shenzhen Utility Tunnel is being built along subway corridors and will include approximately 87 km of tunnels. Includes high-voltage AC power cables, communication, and water pipelines. | Chen, Xiangsheng, Qiufeng He, Jinshan Qiu, Lei Wang, Dong Su, Meilin Liu, Kunyang Chen, and Tong Qiu. 2025. “Simultaneous Construction of Subways and Utility Tunnels: A Case Project in Shenzhen, China.” Tunnelling and Underground Space Technology 146: 106421. https://doi.org/10.1016/j.tust.2025.106421
Hertel-New York Interconnection | Quebec, Canada | 400 kV DC | Underground | Highways, roadway | Comissioned in 2026 | This is a 57.7 km line connecting to the Champlain Hudson Power Express (CHPE) project. | Hydro-Québec. “Hertel–New York Interconnection Line.” Accessed September 2025. https://www.hydroquebec.com/projects/hertel-new-york-interconnection/ .