## Key
Distributed Wind Energy Technology Data Update: 2026 Edition
| Tab | Title
| Definitions | Distributed Wind Definitions and Methodology
| Summary | Summary Statistics
| 1 | Distributed Wind Capacity in the United States
| 2 | U.S. Cumulative (2003–2025) Capacity and Capacity Additions in 2025 for Distributed Wind by State
| 3 | States with Distributed Wind Capacity Greater than 20 MW, 2003-2025
| 4 | States with Small Wind Capacity Greater than 2 MW, 2003-2025
| 5 | States with Distributed Wind Capacity Installed in 2025
| 6 | Project Developers Using Midsize and Large Turbines, 2016-2025
| 7 | Wind Turbine Manufacturers of Midsize and Large Turbines with a U.S. Sales Presence, 2016-2025
| 8 | U.S. Small Wind Turbine Sales, 2016-2025
| 9 | Market Share of Certified Small Wind Turbine Models by Percentage of Units and Capacity, 2016-2025
| 10 | U.S. Distributed Wind Incentive Awards, 2016-2025
| 11 | USDA REAP Grants by Technology, 2016-2025
| 12 | Annual Average and Project-Specific New and Repowered Installed Costs for Projects Using Small Turbines, 2016-2025
| 13 | Annual Average and Project-Specific New and Repowered Installed Costs for Projects Using Midsize and Large Turbines, 2016-2025
| 14 | Small Wind Capacity Factors in 2025 by Region
| 15 | Capacity Factors in 2025 for Projects Using Midsize and Large Turbines by Region
| 16 | Ratio of ERA5 100-m Annual Average Wind Speed in 2025 to 10-Year Long-term Average Wind Speed
| 17 | Distributed Wind Capacity Factors, 2016-2025
| 18 | Distributed Wind End-use Customer Types by Number of Projects, 2016-2025
| 19 | Distributed Wind End-use Customer Types by Capacity of Projects, 2016-2025
| 20 | Distributed Wind for On-site Use and Local Loads by Number of Projects, 2016-2025
| 21 | Distributed Wind for On-site Use and Local Loads by Capacity of Projects, 2016-2025
| 22 | U.S. Small Wind Sales Capacity by Turbine Size, 2016-2025
| 23 | U.S. Small Wind Sales Percentage of Capacity by Turbine Size, 2016-2025
| Table 1 | Certified Small Wind Turbines in the U.S. as of July 2026
| Table 2 | Global Small Wind Capacity
| Table 3 | Small Wind Manufacturers and Suppliers
| Table 4 | Turbine Models in Small Wind Dataset
| Note: | Rounding of values in figure data accounts for apparent variances in totals presented.
See past and current Distributed Wind Energy Technology Data materials:
https://www.pnnl.gov/distributed-wind/technology-update
PNNL-SA-226807

## Definitions
Distributed Wind Definitions and Methodology
Distributed wind turbines are distributed energy resources connected at the distribution level of an electricity system or in off-grid applications to serve specific or local loads.
Two primary interconnection types exist for distributed wind:
On-site use: Behind-the-meter, remote net-metering, grid-connected microgrid, and off-grid applications
Local use: Load-serving distribution line and isolated grid applications
Distributed wind installations can range from a less-than-1-kilowatt (kW) off-grid wind turbine at a remote cabin or telecommunications platform, to a 15-kW wind turbine at a home or farm, to several multi-megawatt (MW) wind turbines at a university campus, at a manufacturing facility, or connected to the distribution system of a local utility.
Small Distributed Wind Turbines: Capacity ≤ 100 kW
Midsize Distributed Wind Turbines: 100 kW < Capacity ≤ 1 MW
Large Distributed Wind Turbines: Capacity > 1 MW
To collect data on distributed wind installations, sales, and related activities that occurred in calendar year 2025, the PNNL team collected publicly available data for distributed wind projects using midsize and large turbines, and issued data requests to: -Small wind turbine manufacturers and suppliers, -Distributed wind developers, installers, and operations and maintenance (O&M) providers, -State and federal agencies, and -Utilities and service providers. Publicly available data includes data collected from the American Clean Power Association (ACP), U.S. Energy Information Administration (EIA), Federal Aviation Administration (FAA), U.S. Department of Agriculture (USDA), U.S. Geological Survey (USGS) Wind Turbine Database, and others. The 2026 Edition includes data from past data requests and presents the distributed wind market from 2003 through 2025, with a focus on the last decade, from 2016 through 2025, drawing from two datasets maintained by the Pacific Northwest National Laboratory: -Master project dataset that captures all projects identified through annual data-request and data-review processes. -Small wind sales dataset based on the sales reports provided by turbine manufacturers and suppliers each year. Each year’s reported annual deployed capacity is a combination of the small wind sales and the installed projects using midsize and large turbines installed in that year. The reported total number of small wind turbine units and capacity deployed each year, domestically and abroad, exclusively come from the small wind sales dataset. Please note: data are subject to change edition-to-edition as new project information becomes available (e.g., when projects installed in past years but not previously recorded are identified, turbines are confirmed to be decommissioned, or removed for end-of-life disposal).
Distributed wind projects provide energy for a wide range of customer. PNNL categorizes distributed wind projects according to seven customer applications.

## Summary Statistics
2025 Summary Statistics
|  | 2025 Total | Small (≤ 100 kW) | Midsize (101 kW - 1 MW) | Large (> 1 MW)
| Installed Capacity (MW) | 3.19 | 1.68 | 1.51 | 0
| Number of Turbines Deployed (Turbine Units) | 740 | 737 | 3 | 0
| Investment Value ($ Million) | 17 | 11 | 6 | 0
| Number of States with Deployment in 2025 | 13 | 12 | 2 | 0
For small wind, this analysis considers sales reported by the manufacturers and suppliers to tally annual deployed capacity and investment.
The total annual installed capacity and investment are a combination of the small wind sales and the installed projects using midsize and large turbines.

## Figure 1
Figure 1: Distributed Wind Capacity in the United States
| Year | Small Wind Capacity (≤ 100 kW) (MW) | Midsize Capacity (101 kW - 1 MW) (MW) | Large Capacity (> 1 MW) (MW) | Annual Total (MW) | Cumulative Total (MW)
| 2016 | 2.431 | 0.275 | 51.88 | 54.586 | 854.4208
| 2017 | 1.737 | 4.85 | 78.67 | 85.257 | 939.6778
| 2018 | 1.506 | 1.65 | 50.52 | 53.676 | 993.3538
| 2019 | 1.2959 | 0.9 | 18.2 | 20.3959 | 1013.7498
| 2020 | 1.55 | 2.2 | 20.04 | 23.79 | 1037.5398
| 2021 | 1.82 | 1.15 | 8.72 | 11.69 | 1049.2298
| 2022 | 2.296 | 0 | 27.16 | 29.456 | 1078.6858
| 2023 | 2.31 | 0.9 | 7.3 | 10.51 | 1089.1958
| 2024 | 1.95 | 0 | 0 | 1.951 | 1091.1458
| 2025 | 1.68 | 1.51 | 0 | 3.19 | 1092.6858

## Figure 2
Figure 2: U.S. Cumulative (2003–2025) Capacity and Capacity Additions in 2025 for Distributed Wind by State
| State | New Capacity in 2025 (MW) | Cumulative Installed Capacity (MW)
| Alabama | No installations reported. | 0.0024
| Alaska | No installations reported. | 27.5421
| Arizona | No installations reported. | 0.08276
| Arkansas | No installations reported. | 0.1035
| California | No installations reported. | 82.4271
| Colorado | No installations reported. | 22.6399
| Connecticut | No installations reported. | 5.115
| Delaware | No installations reported. | 2.0017
| Florida | No installations reported. | 0.1264
| Georgia | No installations reported. | 0.0072
| Guam | No installations reported. | 0.275
| Hawaii | No installations reported. | 3.6879
| Idaho | No installations reported. | 0.0307
| Illinois | 0.0188 | 32.6719
| Indiana | No installations reported. | 9.5995
| Iowa | 0.015 | 211.7716
| Kansas | No installations reported. | 22.5168
| Kentucky | No installations reported. | 0.18
| Louisiana | No installations reported. | 0
| Maine | No installations reported. | 14.5316
| Maryland | No installations reported. | 1.165
| Massachusetts | 0.1 | 75.0423
| Michigan | No installations reported. | 0.5874
| Minnesota | 0.185 | 121.974
| Mississippi | No installations reported. | 0.002
| Missouri | 0.0024 | 5.1949
| Montana | No installations reported. | 1.7026
| Nebraska | 0.045 | 41.3819
| Nevada | No installations reported. | 8.9552
| New Hampshire | No installations reported. | 0.1626
| New Jersey | No installations reported. | 9.0984
| New Mexico | 0.0024 | 36.2534
| New York | 0.0024 | 13.0891
| North Carolina | 1.2635 | 1.4346
| North Dakota | No installations reported. | 6.955
| Northern Mariana Islands | No installations reported. | 0.0024
| Ohio | 0.0024 | 67.2762
| Oklahoma | 0.015 | 1.5987
| Oregon | No installations reported. | 0.5818
| Pennsylvania | No installations reported. | 3.3683
| Puerto Rico | No installations reported. | 0.84
| Rhode Island | No installations reported. | 49.41
| South Carolina | No installations reported. | 0.0113
| South Dakota | No installations reported. | 1.936
| Tennessee | No installations reported. | 0.0091
| Texas | 0.0288 | 66.3802
| Utah | 0.25 | 4.2297
| Vermont | No installations reported. | 11.551
| Virgin Islands | No installations reported. | 0.1124
| Virginia | No installations reported. | 0.45353
| Washington | No installations reported. | 10.6095
| Washington DC | No installations reported. | 0.0034
| West Virginia | No installations reported. | 0.02
| Wisconsin | No installations reported. | 20.4456
| Wyoming | No installations reported. | 3.8661

## Figure 3
Figure 3: States with Distributed Wind Capacity Greater than 20 MW, 2003-2025
|  | 2003-2022 | 2023 | 2024 | 2025 | 2003-2025 Cumulative
| State | MW | MW | MW | MW | MW
| Wisconsin | 20.3706 | 0.06 | 0.015 | 0 | 20.4456
| Kansas | 22.2268 | 0.085 | 0.205 | 0 | 22.5168
| Colorado | 22.4191 | 0.0008 | 0.22 | 0 | 22.6399
| Alaska | 26.4421 | 1.1 | 0 | 0 | 27.5421
| Illinois | 29.8531 | 2.8 | 0 | 0.0188 | 32.6719
| New Mexico | 36.251 | 0 | 0 | 0.0024 | 36.2534
| Nebraska | 41.2619 | 0 | 0.075 | 0.045 | 41.3819
| Rhode Island | 49.41 | 0 | 0 | 0 | 49.41
| Texas | 66.3364 | 0 | 0.015 | 0.0288 | 66.3802
| Ohio | 62.7585 | 4.51 | 0.0053 | 0.0024 | 67.2762
| Massachusetts | 74.9373 | 0.005 | 0 | 0.1 | 75.0422
| California | 82.4036 | 0 | 0.0235 | 0 | 82.4271
| Minnesota | 121.0835 | 0.15 | 0.555 | 0.185 | 121.9735
| Iowa | 211.5746 | 0.032 | 0.15 | 0.015 | 211.7716

## Figure 4
Figure 4: States with Small Wind Capacity Greater than 2 MW, 2003-2025
|  | 2003-2022 | 2023 | 2024 | 2025 | 2003-2025 Cumulative
| State | MW | MW | MW | MW | MW
| Kansas | 2.0068 | 0.085 | 0.205 | 0 | 2.2968
| Wisconsin | 2.2756 | 0.06 | 0.015 | 0 | 2.3506
| California | 3.1136 | 0 | 0.0235 | 0 | 3.1371
| Ohio | 3.1585 | 0.01 | 0.0053 | 0.0024 | 3.1762
| Minnesota | 4.5535 | 0.15 | 0.555 | 0.185 | 5.4435
| New York | 5.9157 | 0.021 | 0.03 | 0.0024 | 5.9691
| Alaska | 8.3421 | 0.2 | 0 | 0 | 8.5421
| Nevada | 8.9552 | 0 | 0 | 0 | 8.9552
| Iowa | 9.5186 | 0.032 | 0.15 | 0.015 | 9.7156

## Figure 5
Figure 5: States with Distributed Wind Capacity Installed in 2025
2025
| State | MW
| Missouri | 0.0024
| New Mexico | 0.0024
| New York | 0.0024
| Ohio | 0.0024
| Oklahoma | 0.015
| Iowa | 0.015
| Illinois | 0.0188
| Texas | 0.0288
| Nebraska | 0.045
| Massachusetts | 0.1
| Minnesota | 0.185
| Utah | 0.25
| North Carolina | 1.2635

## Figure 6
Figure 6: Project Developers Using Midsize and Large Turbines, 2016–2025
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| Installer | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%)
| Bluestem Energy Solutions | 3.2595 | 10.2969 | 18.018 | 13.089 | 0 | 0 | 20.7658 | 0 | 0 | 0
| Foundation Windpower | 0 | 4.4301 | 10.0633 | 8.9005 | 0 | 0 | 20.7658 | 0 | 0 | 0
| Green Development | 28.7604 | 1.796 | 40.253 | 0 | 0 | 45.5927 | 0 | 0 | 0 | 0
| Juhl Energy | 24.9257 | 0 | 4.4087 | 0 | 33.723 | 27.5583 | 0 | 0 | 0 | 0
| One Power Company | 2.876 | 7.1839 | 14.3761 | 47.1204 | 0 | 0 | 0 | 54.878 | 0 | 0
| Optimum Renewables | 0 | 35.9195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ConEdison Development | 15.3389 | 0 | 0 | 0 | 56.3849 | 0 | 58.4683 | 0 | 0 | 0
| WES Engineering | 0 | 0 | 0 | 0 | 9.3525 | 15.1976 | 0 | 0 | 0 | 0
| Other | 24.8394 | 40.3736 | 12.881 | 30.8901 | 0.53957 | 11.6515 | 0 | 45.122 | 100 | 100
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| Total MW per Year | 52.155 | 83.52 | 52.17 | 19.1 | 22.24 | 9.87 | 27.16 | 8.2 | 0.89 | 1.51

## Figure 7
Figure 7: Wind Turbine Manufacturers of Midsize and Large Turbines with a U.S. Sales Presence, 2016-2025
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| Turbine Manufacturer | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%) | Percentage of Total Capacity of Projects (%)
| EWT Americas | 0 | 0 | 1.7251 | 4.712 | 0 | 0 | 0 | 10.9756 | 0 | 0
| GE Renewable Energy | 35.0494 | 21.1566 | 32.4899 | 21.9895 | 90.1079 | 27.5583 | 100 | 34.1463 | 0 | 0
| Goldwind | 2.876 | 7.1839 | 21.2191 | 73.2984 | 0 | 15.1976 | 0 | 54.878 | 0 | 0
| Vensys | 28.7604 | 3.592 | 43.1282 | 0 | 0 | 45.5927 | 0 | 0 | 0 | 0
| Vestas | 17.448 | 3.9511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.4437
| Other | 15.8662 | 64.1164 | 1.4376 | 0 | 9.8921 | 11.6515 | 0 | 0 | 0 | 16.5563
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| Total MW per Year | 52.155 | 83.52 | 52.17 | 19.1 | 22.24 | 9.87 | 27.16 | 8.2 | 0 | 1.51

## Figure 8
Figure 8: U.S. Small Wind Turbine Sales, 2016-2025
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
|  | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW
| U.S. Manufacturer & Refurbished Domestic Sales | 2.375 | 1.628 | 1.145 | 1.185 | 1.499 | 1.378 | 1.22 | 1.515 | 1.403 | 1.24
| Imports from Non-U.S. Suppliers | 0.056 | 0.1095 | 0.361 | 0.111 | 0.05 | 0.439 | 1.07 | 0.8 | 0.55 | 0.44
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
|  | Number of Units Sold in United States | Number of Units Sold in United States | Number of Units Sold in United States | Number of Units Sold in United States | Number of Units Sold in United States | Number of Units Sold in United States | Number of Units Sold in United States | Number of Units Sold in United States | Number of Units Sold in United States | Number of Units Sold in United States
| U.S. Manufacturer & Refurbished Domestic Sales | 2540 | 3185 | 2552 | 2133 | 1470 | 1647 | 1680 | 1971 | 138 | 659
| Imports from Non-U.S. Suppliers | 20 | 84 | 109 | 35 | 17 | 95 | 65 | 23 | 22 | 78
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
|  | Sales ($) in U.S. Market | Sales ($) in U.S. Market | Sales ($) in U.S. Market | Sales ($) in U.S. Market | Sales ($) in U.S. Market | Sales ($) in U.S. Market | Sales ($) in U.S. Market | Sales ($) in U.S. Market | Sales ($) in U.S. Market | Sales ($) in U.S. Market
| U.S. Manufacturer & Refurbished Domestic Sales | 14039880 | 10592488 | 5847945.6 | 6826044.16 | 6840467 | 7082960 | 8232080 | 10865661.6 | 10244040 | 8970689
| Imports from Non-U.S. Suppliers | 298000 | 928950 | 2363000 | 724000 | 356000 | 2074054.0541 | 6415190 | 4302286 | 3300000 | 2624340
The number of reported turbines sold in 2024 (160) is largely due to under-representation of micro-wind turbine units (typically less than 1 kW in size) in the 2024 reported sales data.

## Figure 9
Figure 9: Market Share of Certified Small Wind Turbine Models by Percentage of Units and Capacity, 2016-2025
|  | Percentage of Certified Units in U.S. Market Sales (%) | Percentage of Capacity of Certified Units in U.S. Market Sales (%) | Total Number of Units Sold | Total Capacity Sold (MW)
Year
| 2016 | 6% | 46% | 2560 | 2.4
| 2017 | 2% | 29% | 3269 | 1.7
| 2018 | 43% | 43% | 2662 | 1.5
| 2019 | 68% | 63% | 2168 | 1.3
| 2020 | 68% | 40% | 1488 | 1.6
| 2021 | 62% | 63% | 1742 | 1.8
| 2022 | 40% | 73% | 1745 | 2.3
| 2023 | 37% | 67% | 1994 | 2.3
| 2024 | 83% | 99% | 160 | 2
| 2025 | 15% | 83% | 737 | 1.7

## Figure 10
Figure 10: U.S. Distributed Wind Incentive Awards, 2016-2025
|  | State Incentive | State Production Tax Credit | Section 1603 | USDA REAP
| Year | Award Value ($) | Award Value ($) | Award Value ($) | Award Value ($)
| 2016 | 2072318 | 3598170 | 143207 | 308134
| 2017 | 6435122 | 6529063 | 286246 | 43586
| 2018 | 9868350 | 5261604.8 | 0 | 209335
| 2019 | 1749279 | 5138578.68 | 0 | 188076
| 2020 | 229381 | 4400397.96 | 0 | 155026
| 2021 | 262614 | 4264766.88 | 0 | 696964
| 2022 | 0 | 3947041.68 | 0 | 1069922
| 2023 | 6915465 | 3129032.88 | 0 | 2377818
| 2024 | 1433250 | 2376482.88 | 0 | 6166279.5
| 2025 | 0 | 1455466.99 | 0 | 6507184

## Figure 11
Figure 11: USDA REAP Grants by Technology, 2016-2025
|  | Energy Efficiency | Solar | Wind
| Year | Grant Award Value ($) | Grant Award Value ($) | Grant Award Value ($)
| 2016 | 8780775 | 19912731 | 308134
| 2017 | 7378708 | 20241482 | 43586
| 2018 | 9238100.85 | 23845746.81 | 209335
| 2019 | 9718324.25 | 28098984 | 188076
| 2020 | 11936509 | 33185076 | 155026
| 2021 | 9447234.46 | 28550114.13 | 696964
| 2022 | 7114806 | 28950904 | 1069922
| 2023 | 64756729.5 | 254713745 | 3377818
| 2024 | 91413820.06 | 548234316.04 | 6166279.5
| 2025 | 64503811 | 242130671 | 6507184

## Figure 12
Figure 12: Annual Average and Project-Specific New and Repowered Installed Costs for Projects Using Small Turbines, 2016-2025
|  | New Small Wind Projects |  | Repowered Small Wind Projects |  | New Small Wind Projects
| Year | Project-Specific Installed Cost (2025$/kW) | Year | Project-Specific Installed Cost (2025$/kW) | Year | Average Installed Cost (2025$/kW)
| 2016 | 9112 | 2019 | 8069.6629 | 2016 | 12796.7462
| 2016 | 5269.6629 | 2019 | 6653.9326 | 2017 | 13170.5648
| 2016 | 5269.6629 | 2019 | 6653.9326 | 2018 | 6346.2187
| 2016 | 7724.6533 | 2019 | 6653.9326 | 2019 | 12661.3481
| 2016 | 16080 | 2019 | 6653.9326 | 2020 | 4524.7537
| 2016 | 5269.6629 | 2019 | 6653.9326 | 2021 | 5767.668
| 2016 | 13550.5618 | 2019 | 6653.9326 | 2022 | 8862.0726
| 2016 | 13550.5618 | 2019 | 6653.9326 | 2023 | 8505.0789
| 2016 | 13550.5618 | 2019 | 5153.4 | 2024 | 6810.5368
| 2016 | 15931.0944 | 2020 | 4133.3333 | 2025 | 9632.9534
| 2016 | 15931.0944 | 2020 | 7149.8718
| 2016 | 15931.0944 | 2020 | 4928.2051
| 2016 | 15974.1551 | 2020 | 4808.9744 |  | Repowered Small Wind Projects
| 2016 | 14652.5236 | 2020 | 4928.2051 | Year | Average Installed Cost (2025$/kW)
| 2016 | 14652.5236 | 2020 | 7208.3045 | 2019 | 6644.5101
| 2016 | 14652.5236 | 2020 | 4928.2051 | 2020 | 4910.2007
| 2016 | 14652.5236 | 2020 | 5155.0562 | 2021 | 4016.914
| 2016 | 15931.0944 | 2020 | 5961.5385 | 2022 | Not Applicable
| 2016 | 14652.5236 | 2020 | 2524.2857 | 2023 | Not Applicable
| 2016 | 14961.627 | 2020 | 3875 | 2024 | 5099.6886
| 2016 | 14652.5236 | 2020 | 3321.4286 | 2025 | Not Applicable
| 2016 | 15753.8831 | 2021 | 2692.8571
| 2016 | 14795.7079 | 2021 | 6097.4359
| 2016 | 14330.773 | 2021 | 2692.8571
| 2016 | 15153.1416 | 2021 | 2692.8571
| 2016 | 15753.8831 | 2021 | 2692.8571
| 2016 | 15753.8831 | 2021 | 2692.8571
| 2016 | 15053.018 | 2021 | 5083.1461
| 2016 | 15496.573 | 2021 | 5865.1685
| 2016 | 14652.5236 | 2021 | 4238.4615
| 2016 | 14795.7079 | 2021 | 2692.8571
| 2016 | 14704.3169 | 2021 | 4833.3333
| 2016 | 15056.1798 | 2021 | 4833.3333
| 2016 | 15056.1798 | 2021 | 3420.5128
| 2016 | 15056.1798 | 2021 | 5083.1461
| 2016 | 15056.1798 | 2021 | 4424.359
| 2016 | 11248.6225 | 2021 | 3419.6949
| 2016 | 9033.7079 | 2021 | 4424.359
| 2016 | 9568.2022 | 2021 | 4424.359
| 2016 | 5721.3483 | 2024 | 5461.9872
| 2016 | 4637.3034 | 2024 | 5786.5169
| 2016 | 8555.0282 | 2024 | 4050.5618
| 2016 | 8925.3571 | 2025 | 4761.9048
| 2016 | 19105.3888 | 2025 | 4761.9048
| 2016 | 12948.3146
| 2016 | 11409.2625
| 2016 | 6848.8889
| 2016 | 13550.5618
| 2016 | 20819.1333
| 2016 | 13400
| 2016 | 14676.1905
| 2016 | 35286.6667
| 2016 | 7444.4444
| 2016 | 8942.6778
| 2016 | 7737.2385
| 2016 | 11185.3556
| 2016 | 11185.3556
| 2016 | 11185.3556
| 2016 | 6848.8889
| 2016 | 6551.1111
| 2016 | 7163.104
| 2016 | 11000
| 2017 | 7437.8889
| 2017 | 14716.0101
| 2017 | 10303.3708
| 2017 | 14359.5135
| 2017 | 14506.7045
| 2017 | 14506.7045
| 2017 | 14506.7045
| 2017 | 13555.9978
| 2017 | 14506.7045
| 2017 | 14506.7045
| 2017 | 14626.518
| 2017 | 14375.1157
| 2017 | 14716.0101
| 2017 | 14357.4528
| 2017 | 14375.1157
| 2017 | 15401.1843
| 2017 | 14716.0101
| 2017 | 14464.4607
| 2017 | 14375.1157
| 2017 | 13139.7416
| 2017 | 14626.518
| 2017 | 14009.9348
| 2017 | 14375.1157
| 2017 | 14375.1157
| 2017 | 14375.1157
| 2017 | 14506.7045
| 2017 | 14506.7045
| 2017 | 14464.4607
| 2017 | 9346.6292
| 2017 | 9907.9667
| 2017 | 10934.9372
| 2017 | 5676.6667
| 2017 | 15695.5467
| 2017 | 15262.5397
| 2017 | 12070.7143
| 2017 | 22020.838
| 2017 | 5676.6667
| 2017 | 5676.6667
| 2017 | 8690.1573
| 2018 | 6163.3333
| 2018 | 9097.08
| 2018 | 3778.2427
| 2019 | 6020
| 2019 | 13826.4472
| 2019 | 6103.8062
| 2019 | 13826.4472
| 2019 | 13953.0135
| 2019 | 13953.0135
| 2019 | 13953.0135
| 2019 | 13912.382
| 2019 | 13953.0135
| 2019 | 13953.0135
| 2019 | 13953.0135
| 2019 | 13953.0135
| 2019 | 6975.7785
| 2019 | 9334.08
| 2019 | 12000
| 2019 | 13825
| 2019 | 17150
| 2019 | 12950
| 2019 | 14437.5
| 2019 | 14000
| 2019 | 20895
| 2019 | 11307.6923
| 2019 | 6975.7785
| 2020 | 6178.5467
| 2020 | 2413.5714
| 2020 | 4982.1429
| 2021 | 2606.7416
| 2021 | 5911.5385
| 2021 | 8120
| 2021 | 5410.2103
| 2021 | 4535.6401
| 2021 | 4977.1626
| 2021 | 5544.7256
| 2021 | 5948.7179
| 2021 | 5948.7179
| 2021 | 6301.7301
| 2021 | 6622.8374
| 2021 | 6783.391
| 2021 | 6221.4533
| 2021 | 6341.8685
| 2021 | 6783.391
| 2021 | 6462.2837
| 2021 | 4977.1626
| 2021 | 6221.4533
| 2021 | 3866.6667
| 2022 | 11284.2949
| 2022 | 7650.9615
| 2022 | 7650.9615
| 2023 | 16445.9
| 2023 | 8648.7197
| 2023 | 8648.7197
| 2023 | 6932.1799
| 2023 | 8069.2042
| 2023 | 6760.8974
| 2023 | 5740.1384
| 2023 | 6794.8718
| 2024 | 6735.9862
| 2024 | 5919.1855
| 2024 | 7559.9359
| 2024 | 5724.7685
| 2024 | 5249.0385
| 2024 | 5714.718
| 2024 | 7008.5619
| 2024 | 5786.8893
| 2024 | 7840.8304
| 2024 | 6569.5513
| 2024 | 7791.0256
| 2024 | 7559.9359
| 2024 | 7559.9359
| 2024 | 7559.9359
| 2024 | 7559.9359
| 2024 | 5612.1795
| 2024 | 7229.8077
| 2024 | 7559.9359
| 2024 | 7229.8077
| 2024 | 7229.8077
| 2024 | 7229.8077
| 2024 | 6489
| 2024 | 6602.5641
| 2024 | 6569.5513
| 2024 | 6109.8808
| 2024 | 7229.8077
| 2024 | 7229.8077
| 2024 | 7229.8077
| 2024 | 7229.8077
| 2024 | 5394.2949
| 2025 | 8477.5087
| 2025 | 9523.8095
| 2025 | 4982.699
| 2025 | 16666.6667
| 2025 | 8514.083

## Figure 13
Figure 13: Annual Average and Project-Specific New and Repowered Installed Costs for Projects Using Midsize and Large Turbines, 2016-2025
|  | New Wind Projects Using Turbines Greater than 100 kW |  | Repowered Wind Projects Using Turbines Greater than 100 kW |  | New Wind Projects Using Turbines Greater than 100 kW
| Year | Project-Specific Installed Cost (2025$/kW) | Year | Project-Specific Installed Cost (2025$/kW) | Year | Average Installed Cost (2025$/kW)
| 2016 | 368.5 | 2020 | 775 | 2016 | 5240.0674
| 2016 | 2278 | 2020 | 775 | 2017 | 4172.8688
| 2016 | 2010 | 2020 | 775 | 2018 | 5374.1598
| 2016 | 2010 | 2020 | 775 | 2019 | 3877.5018
| 2016 | 2010 | 2020 | 775 | 2020 | Not Applicable
| 2016 | 2010 | 2020 | 775 | 2021 | 3025.6667
| 2016 | 2010 | 2020 | 775 | 2022 | Not Applicable
| 2016 | 2398.6 | 2020 | 775 | 2023 | Not Applicable
| 2017 | 2423.5 | 2020 | 775 | 2024 | Not Applicable
| 2017 | 2423.5 | 2020 | 775 | 2025 | Not Applicable
| 2017 | 4323 | 2020 | 775
| 2017 | 39300 | 2020 | 775
| 2017 | 982.5 |  |  |  | Repowered Wind Projects Using Turbines Greater than 100 kW
| 2017 | 1965 |  |  | Year | Average Installed Cost (2025$/kW)
| 2017 | 5895 |  |  | 2020 | 775
| 2017 | 1965
| 2018 | 2193
| 2018 | 2193
| 2018 | 1161
| 2018 | 2967
| 2018 | 3870
| 2018 | 1935
| 2018 | 3870
| 2018 | 3870
| 2018 | 3870
| 2018 | 3870
| 2018 | 3870
| 2018 | 3870
| 2018 | 3870
| 2018 | 967.5
| 2019 | 6300
| 2019 | 2142
| 2019 | 1134
| 2019 | 5670
| 2019 | 3150
| 2020 | 6200
| 2020 | 3100
| 2021 | 290
| 2021 | 1740
| 2021 | 5220
| 2021 | 696
| 2022 | 6147.6

## Figure 14
Figure 14: Small Wind Capacity Factors in 2025 by Region
| Region | Capacity Factor (%) | ▪ The wide range of observed small wind capacity factors reflects, among other variables, the assessment and siting challenges for small wind.
| West | 2.998% | ▪ The same turbine model sited in different locations can achieve very different capacity factors, due to differences in the local wind resource and turbulence created by nearby obstacles and complex terrain.
| West | 3.011% | ▪ In addition, low turbine availability due to a turbine not operating for extended periods because of mechanical issues or other reasons, can lower the turbine’s overall capacity factor.
| West | 18.69% | ▪ Poor measurement and reporting techniques for energy production may also be contributing factors.
| Southern Plains | 24.3%
| Southern Plains | 21.25%
| Southern Plains | 12%
| Southern Plains | 20.25%
| Southern Plains | 11.15%
| Southern Plains | 5.914%
| Southern Plains | 10.22%
| Southern Plains | 6.895%
| Southern Plains | 27.02%
| Southern Plains | 11.47%
| Southern Plains | 27.86%
| Southeast | 5.069%
| Southeast | 8.823%
| Northeast | 16.42%
| Northeast | 12.05%
| Northeast | 10.72%
| Northeast | 9.908%
| Northeast | 10.62%
| Northeast | 16.34%
| Northeast | 15.78%
| Northeast | 8.836%
| Northeast | 10.87%
| Northeast | 11%
| Northeast | 16.95%
| Northeast | 4.864%
| Northeast | 19.76%
| Northeast | 26.26%
| Northeast | 17.32%
| Northeast | 27.16%
| Northeast | 16.32%
| Northeast | 11.3%
| Northeast | 5.035%
| Northeast | 26.75%
| Northeast | 18.17%
| Northeast | 10.92%
| Northeast | 20.89%
| Northeast | 9.422%
| Midwest | 17.44%
| Midwest | 13.29%
| Midwest | 16.78%
| Midwest | 7.114%
| Midwest | 19.23%
| Midwest | 14.42%
| Midwest | 11.88%
| Midwest | 11.4%
| Midwest | 9.539%
| Midwest | 4.592%
| Midwest | 20.09%
| Midwest | 7.701%
| Midwest | 25.06%
| Midwest | 6.654%
| Midwest | 6.367%
| Midwest | 16.74%
| Midwest | 17.64%
| Midwest | 12.96%
| Midwest | 16.41%
| Midwest | 15.68%
| Midwest | 20.5%
| Midwest | 22.81%
| Midwest | 15.07%
| Midwest | 18.47%
| Midwest | 5.219%
| Midwest | 22.67%
| Midwest | 11.89%
| Alaska | 23.16%
| Hawaii | 17.5%

## Figure 15
Figure 15: Capacity Factors in 2025 for Projects Using Midsize and Large Turbines by Region
| Region | Capacity Factor (%)
| Alaska | 25.9652
| Alaska | 25.2752
| Alaska | 15.189
| Alaska | 5.9361
| Midwest | 54.2072
| Midwest | 52.3105
| Midwest | 50.1276
| Midwest | 48.2009
| Midwest | 48.0577
| Midwest | 47.7775
| Midwest | 45.6285
| Midwest | 42.8995
| Midwest | 40.9478
| Midwest | 39.277
| Midwest | 38.7671
| Midwest | 38.1355
| Midwest | 37.9455
| Midwest | 37.7452
| Midwest | 37.4358
| Midwest | 37.3104
| Midwest | 36.8189
| Midwest | 36.4547
| Midwest | 35.3562
| Midwest | 35.117
| Midwest | 34.6387
| Midwest | 34.5342
| Midwest | 34.4977
| Midwest | 33.6615
| Midwest | 33.0137
| Midwest | 31.3428
| Midwest | 30.8491
| Midwest | 30.4332
| Midwest | 30.4206
| Midwest | 29.9779
| Midwest | 28.5531
| Midwest | 28.4708
| Midwest | 28.1543
| Midwest | 27.9944
| Midwest | 24.3912
| Midwest | 24.2949
| Midwest | 23.9117
| Midwest | 23.5769
| Midwest | 22.895
| Midwest | 22.7454
| Midwest | 22.4338
| Midwest | 22.4087
| Midwest | 22.33
| Midwest | 19.8838
| Midwest | 19.0639
| Midwest | 17.5157
| Midwest | 17.2409
| Midwest | 16.6591
| Midwest | 16.474
| Midwest | 15.0616
| Midwest | 13.9541
| Midwest | 13.726
| Midwest | 13.6059
| Midwest | 12.7634
| Midwest | 10.3836
| Midwest | 10.0803
| Midwest | 9.1583
| Midwest | 8.9041
| Midwest | 8.4064
| Midwest | 5.6347
| Midwest | 4.3482
| Northeast | 34.807
| Northeast | 33.0845
| Northeast | 30.9117
| Northeast | 30.4756
| Northeast | 29.5167
| Northeast | 28.0708
| Northeast | 27.968
| Northeast | 26.6514
| Northeast | 26.5297
| Northeast | 26.4338
| Northeast | 26.2278
| Northeast | 26.0502
| Northeast | 25.4871
| Northeast | 22.352
| Northeast | 22.2324
| Northeast | 22.174
| Northeast | 21.2329
| Northeast | 20.8143
| Northeast | 20.5708
| Northeast | 19.2315
| Northeast | 18.5589
| Northeast | 18.067
| Northeast | 17.2981
| Northeast | 15.3691
| Northeast | 15.2754
| Northeast | 15.1481
| Northeast | 12.8285
| Northeast | 11.8513
| Northeast | 10.4278
| Northeast | 9.6081
| Northeast | 7.9474
| Northeast | 5.9326
| Southeast | 28.2648
| Southern Plains | 49.1203
| Southern Plains | 38.2948
| Southern Plains | 29.395
| Southern Plains | 15.5787
| West | 38.7926
| West | 34.5177
| West | 26.0397
| West | 25.8916
| West | 25.4844
| West | 25.1635
| West | 23.8661
| West | 23.4049
| West | 19.1305
| West | 18.8242
| West | 14.9315
| West | 13.9041
| West | 12.6408
| West | 12.6142
| West | 12.5327
| West | 12.2603
| West | 12.1385
| West | 11.5753
| West | 7.7545

## Figure 16
Figure 16: Ratio of ERA5 100-m Annual Average Wind Speed in 2025 to 10-Year Long-term Average Wind Speed
ECMWF (European Centre for Medium-Range Weather Forecasts). 2025. ERA5 100 m Wind Speeds. Accessed June 1, 2026. https://www.ecmwf.int/en/forecasts/dataset/ecmwf-reanalysis-v5

## Figure 17
Figure 17: Distributed Wind Capacity Factors, 2016-2025
| Region | Turbine Size | Capacity Factor in 2025 (%) | Long-Term Average Capacity Factor, 2016-2025 (%)
| Alaska | MID | 25.28% | 23.25%
| Alaska | LARGE | 25.97% | 31.71%
| Alaska | MID | 15.19% | 22.13%
| Alaska | MID | 5.936% | 10.77%
| Midwest | LARGE | 13.73% | 16.17%
| Midwest | MID | 28.15% | 24.71%
| Midwest | LARGE | 10.38% | 20.47%
| Midwest | LARGE | 33.01% | 38.2%
| Midwest | MID | 22.33% | 35.89%
| Midwest | LARGE | 27.99% | 25.58%
| Midwest | MID | 9.158% | 6.722%
| Midwest | LARGE | 22.41% | 24.37%
| Midwest | LARGE | 50.13% | 48.11%
| Midwest | LARGE | 28.55% | 38.01%
| Midwest | LARGE | 28.47% | 30.8%
| Midwest | LARGE | 35.12% | 39.75%
| Midwest | SMALL | 13.29% | 11.87%
| Midwest | LARGE | 23.58% | 23.57%
| Midwest | LARGE | 22.43% | 20.81%
| Midwest | LARGE | 31.34% | 38.15%
| Midwest | LARGE | 29.98% | 28.96%
| Midwest | SMALL | 16.78% | 16.96%
| Midwest | LARGE | 37.75% | 40.35%
| Midwest | LARGE | 33.66% | 35.34%
| Midwest | LARGE | 8.406% | 19.56%
| Midwest | LARGE | 15.06% | 17.25%
| Midwest | LARGE | 13.61% | 16.62%
| Midwest | LARGE | 16.47% | 36.2%
| Midwest | LARGE | 22.89% | 25.99%
| Midwest | LARGE | 38.14% | 37.01%
| Midwest | LARGE | 34.5% | 31.85%
| Midwest | SMALL | 14.42% | 25.17%
| Midwest | LARGE | 30.42% | 32.03%
| Midwest | LARGE | 24.29% | 25.59%
| Midwest | LARGE | 19.06% | 25.52%
| Midwest | LARGE | 30.85% | 36.15%
| Midwest | SMALL | 11.4% | 11.58%
| Midwest | LARGE | 36.45% | 38.5%
| Midwest | LARGE | 38.77% | 35.78%
| Midwest | LARGE | 17.24% | 18.25%
| Midwest | LARGE | 39.28% | 38.56%
| Midwest | LARGE | 42.9% | 45.94%
| Midwest | LARGE | 16.66% | 29.74%
| Midwest | LARGE | 14.98% | 29.2%
| Midwest | LARGE | 4.348% | 25.56%
| Midwest | LARGE | 13.95% | 29.95%
| Midwest | LARGE | 30.43% | 33.55%
| Midwest | LARGE | 17.52% | 29.3%
| Midwest | LARGE | 37.44% | 38.54%
| Midwest | LARGE | 36.82% | 36.67%
| Midwest | MID | 12.76% | 22.2%
| Midwest | SMALL | 20.09% | 22.4%
| Midwest | SMALL | 25.06% | 26.29%
| Midwest | SMALL | 5.822% | 3.974%
| Midwest | SMALL | 6.367% | 6.571%
| Midwest | SMALL | 16.74% | 15.42%
| Midwest | SMALL | 17.64% | 17.16%
| Midwest | SMALL | 22.81% | 20.87%
| Midwest | SMALL | 15.07% | 14.92%
| Midwest | SMALL | 18.47% | 19.9%
| Midwest | SMALL | 5.219% | 4.013%
| Northeast | LARGE | 22.35% | 25.68%
| Northeast | LARGE | 12.83% | 22.89%
| Northeast | SMALL | 16.42% | 16.65%
| Northeast | SMALL | 12.05% | 10.35%
| Northeast | MID | 7.947% | 8.433%
| Northeast | LARGE | 10.43% | 11.83%
| Northeast | SMALL | 10.72% | 7.886%
| Northeast | LARGE | 11.85% | 18.07%
| Northeast | LARGE | 22.17% | 22.41%
| Northeast | LARGE | 33.08% | 31.61%
| Northeast | LARGE | 15.28% | 24.05%
| Northeast | LARGE | 30.91% | 30.96%
| Northeast | LARGE | 18.56% | 17.93%
| Northeast | MID | 9.608% | 14.04%
| Northeast | SMALL | 16.34% | 16.85%
| Northeast | LARGE | 15.15% | 16.44%
| Northeast | LARGE | 18.07% | 17.59%
| Northeast | LARGE | 34.81% | 32.16%
| Northeast | SMALL | 15.78% | 12.96%
| Northeast | LARGE | 15.37% | 14.28%
| Northeast | SMALL | 11% | 8.934%
| Northeast | SMALL | 15.09% | 8.771%
| Northeast | LARGE | 19.23% | 21.82%
| Northeast | LARGE | 20.81% | 19.65%
| Northeast | LARGE | 27.97% | 26.88%
| Northeast | LARGE | 5.933% | 5.657%
| Northeast | SMALL | 4.864% | 12.15%
| Northeast | SMALL | 10.92% | 10.89%
| Northeast | SMALL | 20.89% | 15.89%
| Southeast | LARGE | 28.26% | 26.76%
| Southeast | SMALL | 5.069% | 5.221%
| Southern Plains | LARGE | 15.58% | 36.73%
| Southern Plains | SMALL | 11.15% | 12.27%
| West | LARGE | 23.87% | 19.64%
| West | LARGE | 25.48% | 22.89%
| West | LARGE | 14.93% | 13.55%
| West | LARGE | 12.61% | 11.16%
| West | LARGE | 25.89% | 24.78%
| West | LARGE | 25.16% | 26.15%
| West | LARGE | 18.82% | 21.16%
| West | LARGE | 12.53% | 17.09%
| West | SMALL | 2.998% | 5.639%
| West | LARGE | 34.52% | 32.73%
| West | MID | 13.9% | 14.63%
| West | MID | 12.26% | 15.01%
| West | MID | 7.754% | 23.34%
| West | LARGE | 23.4% | 23.39%
| West | LARGE | 12.14% | 13.71%
| West | LARGE | 19.13% | 27.84%
| West | LARGE | 12.64% | 13.64%

## Figure 18
Figure 18: Distributed Wind End-use Customer Types by Number of Projects, 2016-2025
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| Customer Type | Percentage of Number of Projects (%) | Percentage of Number of Projects (%) | Percentage of Number of Projects (%) | Percentage of Number of Projects (%) | Percentage of Number of Projects (%) | Percentage of Number of Projects (%) | Percentage of Number of Projects (%) | Percentage of Number of Projects (%) | Percentage of Number of Projects (%) | Percentage of Number of Projects (%)
| Agricultural | 28.125 | 22.2222 | 10.7143 | 30.137 | 28.2609 | 57.6271 | 35 | 30.7692 | 55.2632 | 55.5556
| Industrial | 2.0833 | 4.1667 | 10.7143 | 6.8493 | 6.5217 | 6.7797 | 2.5 | 7.6923 | 5.2632 | 5.5556
| Commercial | 13.5417 | 9.7222 | 7.1429 | 16.4384 | 8.6957 | 10.1695 | 25 | 41.0256 | 15.7895 | 0
| Government | 7.2917 | 9.7222 | 14.2857 | 5.4795 | 30.4348 | 3.3898 | 0 | 0 | 7.8947 | 0
| Institutional | 10.4167 | 2.7778 | 10.7143 | 5.4795 | 4.3478 | 1.6949 | 2.5 | 12.8205 | 5.2632 | 22.2222
| Residential | 32.2917 | 38.8889 | 17.8571 | 30.137 | 15.2174 | 15.2542 | 25 | 2.5641 | 7.8947 | 16.6667
| Utility | 6.25 | 12.5 | 28.5714 | 5.4795 | 6.5217 | 5.0847 | 10 | 5.1282 | 2.6316 | 0
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| Total Number of Projects | 96 | 72 | 28 | 73 | 46 | 59 | 40 | 39 | 38 | 18

## Figure 19
Figure 19: Distributed Wind End-use Customer Types by Capacity of Projects, 2016-2025
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| Customer Type | Percentage of Capacity of Projects (%) | Percentage of Capacity of Projects (%) | Percentage of Capacity of Projects (%) | Percentage of Capacity of Projects (%) | Percentage of Capacity of Projects (%) | Percentage of Capacity of Projects (%) | Percentage of Capacity of Projects (%) | Percentage of Capacity of Projects (%) | Percentage of Capacity of Projects (%) | Percentage of Capacity of Projects (%)
| Agricultural | 5.6753 | 2.3635 | 0.37539 | 1.7656 | 1.9653 | 11.6893 | 1.0974 | 3.0787 | 63.3144 | 10.8537
| Industrial | 3.5032 | 7.2188 | 20.0566 | 53.8327 | 33.6907 | 24.9644 | 20.2406 | 83.3583 | 2.7528 | 13.4063
| Commercial | 0.57015 | 1.4851 | 6.4567 | 1.3078 | 0.56151 | 6.6964 | 0.60524 | 2.4674 | 9.6348 | 0
| Government | 24.468 | 10.779 | 12.1198 | 0.10421 | 9.049 | 0.589 | 0 | 0 | 11.47 | 0
| Institutional | 7.1302 | 0.014674 | 7.7223 | 0.060253 | 0.21597 | 0.45308 | 0.0071775 | 0.54794 | 1.0369 | 75.2789
| Residential | 0.75101 | 0.30568 | 0.49981 | 0.94973 | 0.35332 | 0.78563 | 0.281 | 0.16672 | 2.6152 | 0.46118
| Utility | 57.9021 | 77.8332 | 52.7693 | 41.9797 | 54.1643 | 54.8221 | 77.7685 | 10.3809 | 9.176 | 0
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| Total Capacity of Projects (MW) | 45.6819 | 84.5212 | 46.618 | 20.2479 | 23.1368 | 11.0207 | 27.8648 | 8.9973 | 1.0198 | 1.8648

## Figure 20
Figure 20: Distributed Wind for On-site Use and Local Loads by Number of Projects, 2016-2025
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| Interconnection Type | Percentage of Total Number of Projects (%) | Percentage of Total Number of Projects (%) | Percentage of Total Number of Projects (%) | Percentage of Total Number of Projects (%) | Percentage of Total Number of Projects (%) | Percentage of Total Number of Projects (%) | Percentage of Total Number of Projects (%) | Percentage of Total Number of Projects (%) | Percentage of Total Number of Projects (%) | Percentage of Total Number of Projects (%)
| Local Use | 7.9208 | 12.8205 | 35.4839 | 6.8493 | 34.7826 | 12.9032 | 10 | 15.7895 | 2.2727 | 0
| On-site Use | 92.0792 | 87.1795 | 64.5161 | 93.1507 | 65.2174 | 87.0968 | 90 | 84.2105 | 97.7273 | 100
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| Number of Projects per Year | 101 | 78 | 31 | 73 | 46 | 62 | 40 | 19 | 44 | 14

## Figure 21
Figure 21: Distributed Wind for On-site Use and Local Loads by Capacity of Projects, 2016-2025
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| Interconnection Type | Percentage of Total Project Capacity (%) | Percentage of Total Project Capacity (%) | Percentage of Total Project Capacity (%) | Percentage of Total Project Capacity (%) | Percentage of Total Project Capacity (%) | Percentage of Total Project Capacity (%) | Percentage of Total Project Capacity (%) | Percentage of Total Project Capacity (%) | Percentage of Total Project Capacity (%) | Percentage of Total Project Capacity (%)
| Local Use | 48.5982 | 79.777 | 57.611 | 42.029 | 63.1484 | 57.6302 | 77.8104 | 10.8493 | 9.6237 | 0
| On-site Use | 51.4018 | 20.223 | 42.389 | 57.971 | 36.8516 | 42.3698 | 22.1896 | 89.1507 | 90.3763 | 100
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| Capacity of Projects (MW) | 45.7319 | 84.5932 | 46.6404 | 20.2479 | 23.1368 | 11.4957 | 27.8498 | 9 | 1.0391 | 0.562

## Figure 22
Figure 22: U.S. Small Wind Sales Capacity by Turbine Size, 2016-2025
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Turbine Size | bar: 2016 to 2025
| New Turbines Rated 0.1-0.9 kW | 0.591 | 0.72521 | 0.705 | 0.627 | 0.41 | 0.453 | 0.486 | 0.57 | 0.003 | 0.18525
| New Turbines Rated 1-10 kW | 1.219 | 0.497 | 0.136 | 0.254 | 0.094 | 0.284 | 0.085 | 0.1195 | 0.1098 | 0.1744
| New Turbines Rated 11-100 kW | 0.62 | 0.515 | 0.665 | 0.315 | 0.65 | 0.88 | 1.725 | 1.625 | 1.84 | 1.32
| Refurbished Turbines Rated 11-100 kW | 0 | 0 | 0 | 0.1 | 0.4 | 0.2 | 0 | 0 | 0 | 0

## Figure 23
Figure 23: U.S. Small Wind Sales Percentage of Capacity by Turbine Size, 2016-2025
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Turbine Size | bar: 2016 to 2025
| New Turbines Rated 0.1-0.9 kW | 24.321 | 41.7457 | 46.8127 | 48.3796 | 26.3835 | 24.9312 | 21.1672 | 24.6273 | 0.15363 | 11.0291
| New Turbines Rated 1-10 kW | 50.1646 | 28.6091 | 9.0305 | 19.5988 | 6.0489 | 15.6302 | 3.7021 | 5.1631 | 5.6227 | 10.3831
| New Turbines Rated 11-100 kW | 25.5144 | 29.6452 | 44.1567 | 24.3056 | 41.8275 | 48.4315 | 75.1307 | 70.2095 | 94.2237 | 78.5878
| Refurbished Turbines Rated 11-100 kW | 0 | 0 | 0 | 7.716 | 25.74 | 11.0072 | 0 | 0 | 0 | 0
|  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| Total Capacity (MW) | 2.43 | 1.7372 | 1.506 | 1.296 | 1.554 | 1.817 | 2.296 | 2.3145 | 1.9528 | 1.6797

## Table 1
Table 1: Certified Small Wind Turbines in the U.S. as of July 2026
| Applicant | Turbine Model | Date of Initial Certification | Certified Power at 11 m/s (kW)* | Sound Level (db(A))* | Certification Standard*
| Bergey Windpower Company | Excel 15 | 02/05/2021 | 15.6 | 48.5 | AWEA 9.1
| Eveready Diversified Products (Pty) Ltd. | Kestrel e400nb | 02/14/2013 | 2.5 | 55.6 | AWEA 9.1
| Eocycle Technologies, Inc. | EOX S-16 | 03/21/2017 | 28.9 | 43.5 | AWEA 9.1
| HI-VAWT Technology Corporation/Colite Technologies | DS3000 | 05/10/2019 | 1.4 | 42.3 | AWEA 9.1
| Kodair Wind Designs Ltd. | KW20 | 02/20/2025 | 20.3 | 41.8 | ACP 101-1
| Kodair Wind Designs Ltd. | KW30 | 03/12/2025 | 29.3 | 46.5 | ACP 101-1
| SD Wind Energy, Ltd. | SD6 | 06/17/2019 | 5.2 | 43.1 | AWEA 9.1
| SkyWind Energy GmbH | SkyWind NG | 06/20/2025 | 0.31 | N/A | ACP 101-1
| Wind Resource, LLC | Skystream 3.7 | 04/12/2023 | 2.1 | 41.2 | AWEA 9.1
* Power output at 11 m/s (24.6 mph) at standard sea level conditions. Manufacturers may describe or name their wind turbine models using a nominal power, which may reference output at a different wind speed.
* Decibel (sound) limit not to be exceeded by the wind turbine 95% of the time at reference wind speeds. Calculated at a distance of 60 meters from the rotor hub and excludes any contribution of background sound.
* The American Clean Power Association (ACP), the successor to AWEA, published its new American National Standards Institute (ANSI) consensus standard, ANSI/ACP 101-1-2021, in October 2022 to facilitate easier certification compliance.

## Table 2
Table 2: Global Small Wind Capacity
| Country | 2016-2022 Capacity (MW) | 2023 Capacity (MW) | 2024 Capacity (MW) | 2025 Capacity (MW) | Cumulative Total Capacity (MW) | Cumulative Years | Small Wind Definition | Reference
| Argentina | * | * | * | * | 6.5 | As of 2024 | Uncertain | (Justino da Silva Junior 2025)
| Australia | 0.0244 | * | * | * | 1.4696 | 2001-2025 | 0-10 kW Capacity | (Australian Government 2026)
| Austria | * | * | * | * | 0.29 | As of 2022 | 0-50 kW Capacity | (University of Applied Science Technikum Wien 2023)
| Brazil | 0.45695 | 0.144 | 0.032 | 0.09773 | 0.89068 | 2013-2025 | 0-75 kW Capacity | (Brazil National Electric Energy Agency 2026)
| Canada | * | * | * | * | 13.465 | As of 2018 | Uncertain | (Canadian Government 2018)
| China | 220.993 | 67.781 | 74.95 | 61.069 | 884.903 | 2007-2025 | 0-100 kW Capacity | (China Wind Energy Association 2018; China Wind Energy Equipment Association 2026)
| Denmark | 18.0286 | 0.3142 | 0.144 | 0.1762 | 611.733 | 1977-2025 | 0-100 kW Capacity | (Danish Energy Agency 2026)
| Germany | 9 | 2.5 | 2.5 | 2.5 | 47.25 | As of 2025 | 0-50 kW Capacity | (Klein-Windkraftlagen 2026)
| India | * | * | * | * | 5 | As of 2022 | 0-10 kW Capacity | (Hossain 2023)
| Ireland | * | * | * | * | 4 | As of 2016 | 0-11 kW Capacity | (Dundalk Institute of Technology 2024)
| Italy | 148.4259 | 2.307 | 0.88 | 1.118 | 205.085 | As of 2025 | 0-250 kW Capacity | (Gestore dei Servizi Energetici 2026)
| Japan | * | * | * | * | 12.88 | As of 2019 | 0-20 kW Capacity | (Japan Small Wind Turbine Association 2020)
| New Zealand | * | * | * | * | 0.19 | As of 2015 | Uncertain | (Sustainable Electricity Association of New Zealand 2016)
| South Korea | 1.181 | 0 | 0 | * | 4.331 | As of 2024 | Uncertain | (Korean Institute of Energy Research 2025)
| United Kingdom | 8.97 | * | * | * | 141.51 | As of 2019 | 0-100 kW Capacity | (United Kingdom Government 2019)
| United States | 12.65 | 2.31 | 1.956 | 1.685 | 162.721 | 2003-2024 | 0-100 kW Capacity | This report
| Global | 419.7298 | 75.3562 | 80.462 | 66.6459 | 2102.2182 | As of 2025 | As defined above | The sum of this table
* Data not available
References
Australian Government. 2026. "Postcode data for small-scale installations." Accessed January 12, 2026. https://www.cleanenergyregulator.gov.au/RET/Forms-and-resources/Postcode-data-for-small-scaleinstallations.
University of Applied Science Technikum Wien. 2023. Kleinwindreport Österreich 2022.
Brazil National Electric Energy Agency. 2026. "List of distributed generation projects." Accessed January 12, 2026. https://dadosabertos.aneel.gov.br/dataset/relacao-de-empreendimentos-de-geracao-distribuida.
Canadian Government. 2018. "The Atlas of Canada - Clean Energy Resources and Projects (CERP)." Last updated December 10, 2018. https://atlas.gc.ca/cerp-rpep/en/.
China Wind Energy Association. 2018. "China Medium/Small Wind Industry." Provided by Charlie Dou, China Wind Energy Association and China Wind Energy Equipment Association, via email to authors on February 5, 2018.
China Wind Energy Equipment Association. 2026. "Small Wind in China." Provided by Wenhui Wang, China Wind Energy Equipment Association, via email to authors on September 10, 2026.
Danish Energy Agency. 2026. "Master Data Register of Wind Turbines." Accessed September 15, 2026. https://ens.dk/service/statistik-data-noegletal-og-kort/data-oversigt-over-energisektoren.
Dundalk Institute of Technology. 2024. "Small Wind in Ireland." Provided by Raymond Byrne, Dundalk Institute of Technology, via email to authors on January 23, 2024.
Klein-Windkraftanlagen. 2026. "Small Wind Installations in Germany." Provided by Patrick Jüttemann, KleinWindkraftanlagen, via email to authors on February 4, 2026.
Hossain, J. 2023. "Small Wind in India: The Need for Revival." Presentation at Small Wind Markets Around the World: A World Wind Energy Association webinar. https://www.youtube.com/watch?v=Jhe5WeeyKrc&t=2s. March 15, 2023.
Gestore dei Servizi Energetici. 2026. "Small Wind Installations in Italy." Provided by Matteo Giannì, Gestore dei Servizi Energetici, via email to authors on February 3, 2026.
Japan Small Wind Turbine Association. 2020. "The Number of Installed and Accepted WT under 500 kW." Provided by Masaya Kubo, Japan Small Wind Turbine Association, via email to authors on May 11, 2020.
Sustainable Electricity Association of New Zealand. 2016. "Small Wind in New Zealand." Provided by Rebecca George, Sustainable Electricity Association of New Zealand, via email to authors on March 14, 2015.
Korean Institute of Energy Research. 2025. "Small Wind in Korea." Provided by Seokwoo Kim, Korean Institute of Energy Research, via email to authors on January 22, 2025.
United Kingdom Government. 2019. "Monthly Feed-In Tariff Commissioned Installations." Last updated October 31, 2019. https://www.gov.uk/government/statistics/monthly-small-scale-renewabledeployment.
Justino da Silva, L. 2025. "Small wind in Brazil and South America." Presentation at Small Wind Markets and Products Worldwide: A World Wind Energy Association webinar. https://www.youtube.com/watch?v=Boh98gnpsFA. April 23, 2025.

## Table 3
Table 3: Small Wind Manufacturers and Suppliers
Small Wind Turbines (Up Through 100 kW)
| Manufacturer or Supplier | Model Name | Headquarters
| APRS World | WT10 | Minnesota
| Bergey Windpower Co. | Excel 10, Excel 15 | Oklahoma
| BE-Wind | EOW-200-Composite | Florida
| Eocycle Technologies, Inc. | EOX S-16 | Canada
| Eclectic Energy Ltd. | DS400 Lite | United Kingdom
| Hi VAWT Technology Corp. | DS300, DS700 | Taiwan
| Northern Power Systems | NPS 100C-24 | Italy
| Ryse | Air 30, Air 40, Air Breeze Marine, Air Silent X / Air X Marine, AirMax | Texas
| Wind Resource, LLC | Skystream 3.7 | Missouri
Wind Turbines Greater than 100 kW
| Manufacturer or Supplier | Model Name | Headquarters
| Leitwind | LTW42 | Italy

## Table 4
Table 4: Turbine Models in Small Wind Dataset
| Turbine Model | Rated or Referenced Power at 11 m/s (kW)* | Nominal Turbine Capacity (kW) | Rated or Referenced Power Source
| Abundant Renewable Energy ARE442 | 10 | 10 | Manufacturer’s brochure
| Bergey Excel 1 | 1 |  | Manufacturer’s brochure
| Bergey Excel 6 | 6 | 5.5 | ICC–SWCC Small Wind Turbine Certification to AWEA 9.1–2009 Standard (Certification Expired)
| Bergey Excel R | 7.5 |  | Manufacturer’s brochure
| Bergey Excel S/10 | 8.9 | 10 | ICC–SWCC Small Wind Turbine Certification to AWEA 9.1–2009 Standard
| Bergey Excel 15 | 15.6 | 15 | ICC–SWCC Small Wind Turbine Certification to AWEA 9.1–2009 Standard
| C&F Green Energy CF15 | 15 |  | Manufacturer’s brochure
| Dakota Turbines DT-25 | 23.9 | 25 | ICC–SWCC Small Wind Turbine Certification to AWEA 9.1–2009 Standard (Certification Expired)
| Endurance E-3120 | 56 | 50 | ICC–SWCC power performance certification to IEC 61400-12-1 (Certification Expired)
| Eocycle EOX S-16 (formerly EO25) | 28.9 | 25 | SGS Certification to AWEA 9.1–2009 Standard
| Northern Power Systems NPS 100 | 90 | 100 | Manufacturer’s power curve
| Northern Power Systems NPS 100-21 | 79 | 100 | DNV power performance certification to IEC 61400-12-1
| Northern Power Systems NPS 100-24 | 90 | 100 | Manufacturer’s power curve
| Northern Power Systems NPS 100B-24 | 90 | 100 | Manufacturer’s power curve
| Northern Power Systems NPS 100C-24 | 90 | 100 | Manufacturer’s power curve
| Osiris 10 | 9.8 | 10 | Intertek full certification to AWEA 9.1-2009 Standard (Certification Expired)
| Pika T701 | 1.5 | 1.7 | ICC–SWCC Small Wind Turbine Certification to AWEA 9.1–2009 Standard (Certification Expired)
| Southwest Windpower/ Xzeres Skystream 3.7 | 2.1 | 2.4 | ICC–SWCC Small Wind Turbine Certification to AWEA 9.1–2009 Standard (Certification Expired)
| Star Wind Turbines Star72 | 25 | 25 | Manufacturer’s brochure (base model)
| Xzeres 442/442SR | 10 | 10 | ICC–SWCC Small Wind Turbine Certification to AWEA 9.1–2009 Standard (Certification Expired)
| WindStax WS40 | 3.6 |  | Manufacturer’s brochure
| WindStax WS60 | 5.4 |  | Manufacturer’s brochure
* Power output at 11 m/s (24.6 mph) at standard sea level conditions. Manufacturers may describe or name their wind turbine models using a nominal power, which may reference output at a different wind speed (e.g., 10 kW Bergey Excel 10).